## Worksheet
Status | SDO | Standard | Year | Title | Currency | Price (PDF) | Price (PRINT)
Definitive | BSI | BS EN ISO 11929-3:2025 | 2025 | Determination of the characteristic limits (decision threshold, detection limit and limits of the coverage interval) for measurements of ionizing radiation — Fundamentals and application - Applications to unfolding methods | GBP | 290 | 290
Definitive | BSI | BS EN ISO 11929-2:2025 | 2025 | Determination of the characteristic limits (decision threshold, detection limit and limits of the coverage interval) for measurements of ionizing radiation. Fundamentals and application - Advanced applications | GBP | 290 | 290
Definitive | BSI | BS EN ISO 11929-1:2025 | 2025 | Determination of the characteristic limits (decision threshold, detection limit and limits of the coverage interval) for measurements of ionizing radiation — Fundamentals and application - Elementary applications | GBP | 306 | 306
Definitive | BSI | BS ISO 18990:2025 | 2025 | Measurement of radioactivity in urine-<sup>238</sup>Pu, <sup>239</sup>Pu and <sup>240</sup>Pu - Test method using alpha spectrometry or ICP-MS | GBP | 290 | 290
Definitive | BSI | BS IEC 61874:2025 | 2025 | Nuclear instrumentation - Geophysical borehole instrumentation to determine rock density ('density logging') | GBP | 158 | 158
ACTIVE | IEC | IEC 61874:2025 | 2025 | Nuclear instrumentation - Geophysical borehole instrumentation to determine rock density ('density logging') | CHF | 80 | 80
Definitive | BSI | PD ISO/TS 11665-13:2025 | 2025 | Measurement of radioactivity in the environment — Air: radon 222 - Determination of the diffusion coefficient in waterproof materials: membrane two-side activity concentration test method | GBP | 272 | 272
Definitive | BSI | 25/30495239 DC | 1 | BS EN ISO 13169 Water quality — Uranium — Test method using alpha liquid scintillation counting | GBP | 20 | 20
Published | ISO | ISO 18990:2025 | 2025 | Measurement of radioactivity in urine-238Pu, 239Pu and 240Pu — Test method using alpha spectrometry or ICP-MS | CHF | 177 | 177
Published | ISO | ISO 18589-7:2025 | 2025 | Measurement of radioactivity in the environment — Soil — Part 7: In situ measurement of gamma-emitting radionuclides | CHF | 199 | 199
Published | ISO | ISO 11929-3:2025 | 2025 | Determination of the characteristic limits (decision threshold, detection limit and limits of the coverage interval) for measurements of ionizing radiation — Fundamentals and application — Part 3: Applications to unfolding methods | CHF | 177 | 177
Published | ISO | ISO 11929-2:2025 | 2025 | Determination of the characteristic limits (decision threshold, detection limit and limits of the coverage interval) for measurements of ionizing radiation — Fundamentals and application — Part 2: Advanced applications | CHF | 177 | 177
Published | ISO | ISO 11929-1:2025 | 2025 | Determination of the characteristic limits (decision threshold, detection limit and limits of the coverage interval) for measurements of ionizing radiation — Fundamentals and application — Part 1: Elementary applications | CHF | 177 | 177
Published | ISO | ISO/TS 11665-13:2025 | 2025 | Measurement of radioactivity in the environment — Air: radon 222 — Part 13: Determination of the diffusion coefficient in waterproof materials: membrane two-side activity concentration test method | CHF | 155 | 155
ACTIVE | DIN | DIN IEC 63589-1 (DRAFT) : 2025 | 2025 | Linear accelerator - Electron linear accelerator for radiation processing - Part 1: General requirement and testing method (IEC 45/1002/CDV:2025); Text in German and English | EUR
Definitive | BSI | BS EN 50566:2017+A2:2025 | 2017 | Product standard to demonstrate the compliance of wireless communication devices with the basic restrictions and exposure limit values related to human exposure to electromagnetic fields in the frequency range from 30 MHz to 6 GHz: hand-held and body mounted devices in close proximity to the human body | GBP | 142 | 142
Definitive | BSI | BS EN ISO 19581:2025 - TC | 2025 | Tracked Changes. Measurement of radioactivity. Gamma emitting radionuclides. Rapid screening method using scintillation detector gamma-ray spectrometry | GBP | 326 | 326
Definitive | BSI | BS EN ISO 19581:2025 | 2025 | Measurement of radioactivity. Gamma emitting radionuclides. Rapid screening method using scintillation detector gamma-ray spectrometry | GBP | 232 | 232
Definitive | BSI | BS EN ISO 6980-3:2025 | 2025 | Nuclear energy. Reference beta-particle radiation - Calibration of area and personal dosemeters and the determination of their response as a function of beta radiation energy and angle of incidence | GBP | 232 | 232
Definitive | BSI | BS EN ISO 23548:2025 | 2025 | Measurement of radioactivity. Alpha emitting radionuclides. Generic test method using alpha spectrometry | GBP | 306 | 306
Definitive | BSI | BS EN ISO 6980-2:2025 | 2025 | Nuclear energy. Reference beta-particle radiation - Calibration fundamentals related to basic quantities characterizing the radiation field | GBP | 322 | 322
Definitive | BSI | BS EN ISO 6980-1:2025 | 2025 | Nuclear energy. Reference beta-particle radiation - Methods of production | GBP | 232 | 232
Published | ISO | ISO 19581:2025 | 2025 | Measurement of radioactivity — Gamma emitting radionuclides — Rapid screening method using scintillation detector gamma-ray spectrometry | CHF | 132 | 132
Definitive | BSI | 25/30544340 DC | 9 | Draft BS IEC 63596 Replay Tools for radioactive material detection systems | GBP | 20 | 20
Definitive | BSI | 25/30495246 DC | 3 | BS EN ISO 11704 Water quality — Gross alpha and gross beta activity — Test method using liquid scintillation counting | GBP | 20 | 20
Definitive | BSI | BS EN ISO 19361:2025 - TC | 2025 | Tracked Changes. Measurement of radioactivity. Determination of beta emitters activities. Test method using liquid scintillation counting | GBP | 382 | 382
Definitive | BSI | 25/30502076 DC | 28 | BS ISO 11932 Activity measurements of solid materials considered for recycling, re-use or disposal as non-radioactive waste | GBP | 20 | 20
Definitive | BSI | BS EN ISO 19361:2025 | 2025 | Measurement of radioactivity. Determination of beta emitters activities. Test method using liquid scintillation counting | GBP | 272 | 272
ACTIVE | DIN | DIN EN ISO 11704 (DRAFT) : 2025 | 2025 | Water quality - Gross alpha and gross beta activity - Test method using liquid scintillation counting (ISO/DIS 11704:2025); German and English version prEN ISO 11704:2025 | EUR | 95.42 | 95.42
Definitive | BSI | BS ISO 13165-4:2025 | 2025 | Water quality. Radium-226 - Test method using alpha spectrometry | GBP | 272 | 272
Published | ISO | ISO 13165-4:2025 | 2025 | Water quality — Radium-226 — Part 4: Test method using alpha spectrometry | CHF | 155 | 155
Definitive | BSI | BS EN ISO 18589-3:2024 | 2024 | Measurement of radioactivity in the environment — Soil - Test method of gamma-emitting radionuclides using gamma-ray spectrometry | GBP | 306 | 306
Definitive | BSI | BS EN ISO 18589-2:2024 | 2024 | Measurement of radioactivity in the environment — Soil - Guidance for the selection of the sampling strategy, sampling and pre-treatment of samples | GBP | 272 | 272
Published | ISO | ISO 19361:2025 | 2025 | Measurement of radioactivity — Determination of beta emitters activities — Test method using liquid scintillation counting | CHF | 132 | 132
Definitive | BSI | BS EN IEC 62232:2025 | 2025 | Determination of RF field strength, power density and SAR in the vicinity of base stations for the purpose of evaluating human exposure | GBP | 348 | 348
ACTIVE | ASTM | ASTM E705 : 25 | 2025 | Standard Test Method for Measuring Reaction Rates by Radioactivation of Neptunium-237 | USD | 72 | 72
ACTIVE | ASTM | ASTM E264 : 25 | 2025 | Standard Test Method for Measuring Fast-Neutron Reaction Rates by Radioactivation of Nickel | USD | 64 | 64
ACTIVE | IEC | IEC 62232:2025 (EN-FR) | 2025 | Determination of RF field strength, power density and SAR in the vicinity of base stations for the purpose of evaluating human exposure | CHF | 475 | 475
Definitive | BSI | BS EN IEC/IEEE 63184:2025 | 2025 | Assessment methods of the human exposure to electric and magnetic fields from wireless power transfer systems. Models, instrumentation, measurement and computational methods and procedures (frequency range of 3 kHz to 30 MHz) | GBP | 348 | 348
ACTIVE | DIN | DIN IEC 62709 : 2025 | 2025 | Radiation protection instrumentation - Security screening of humans - Measuring the imaging performance of X-ray systems (IEC 62709:2024) | EUR
ACTIVE | DIN | DIN EN ISO 13165-3 : 2025 | 2025 | Water quality - Radium-226 - Part 3: Test method using coprecipitation and gamma-ray spectrometry (ISO 13165-3:2024) | EUR | 110.75 | 110.75
Published | ISO | ISO 18510-1:2025 | 2025 | Measurement of radioactivity in the environment — Bioindicators — Part 1: General guidance to the sampling, conditioning and pre-treatment | CHF | 98 | 98
Definitive | BSI | BS IEC 63391:2024 | 2024 | Active millimetre-wave systems for security screening of humans. General requirements | GBP | 232 | 232
ACTIVE | JSA | JIS Z 4511:2018/AMENDMENT 1:2024 | 2024 | X and gamma reference radiation for calibrating dosemeters and doserate meters and for determining their response as a function of photon energy (Amendment 1) | JPY | 9000 | 9000
Definitive | BSI | 25/30510476 DC | 12 | Draft BS EN 60544-4 Electrical insulating materials. Determination of the effects of ionizing radiation - Part 4. Classification system for service in radiation environments | GBP | 20 | 20
ACTIVE | ASTM | ASTM E844 : 25 | 2025 | Standard Guide for Sensor Set Design and Irradiation for Reactor Surveillance | USD | 72 | 72
ACTIVE | ASTM | ASTM E263 : 25 | 2025 | Standard Test Method for Measuring Fast-Neutron Reaction Rates by Radioactivation of Iron | USD | 72 | 72
ACTIVE | IEC | IEC/IEEE 63184:2025 (EN-FR) | 2025 | Assessment methods of the human exposure to electric and magnetic fields from wireless power transfer systems – Models, instrumentation, measurement and computational methods and procedures (frequency range of 3 kHz to 30 MHz) | CHF | 430 | 430
Definitive | BSI | 25/30467459 DC | 29 | BS ISO 18990 Measurement of radioactivity in urine-238Pu, 239Pu and 240Pu-Test method using alpha spectrometry and ICP-MS | GBP | 20 | 20
Definitive | BSI | 25/30451872 DC | 10 | BS EN 50663 Generic standard for assessment of low power electronic and electrical equipment related to human exposure restrictions for electromagnetic fields (10 MHz - 300 GHz) | GBP | 20 | 20
ACTIVE | ASTM | ASTM 51538 : 24 | 2024 | Standard Practice for Use of the Ethanol-Chlorobenzene Dosimetry System | USD | 80 | 80
ACTIVE | ASTM | ASTM 51205 : 24 | 2024 | Standard Practice for Use of a Ceric-Cerous Sulfate Dosimetry System | USD | 80 | 80
Definitive | BSI | PD IEC TR 63424-1:2024 | 2024 | Validation of dynamic power control and exposure time-averaging algorithms - Cellular network implementations for SAR at frequencies up to 6 GHz | GBP | 348 | 348
Definitive | BSI | 25/30507446 DC | 20 | BS EN IEC 60761-1 Radiation protection instrumentation - Equipment for continuous monitoring of radioactivity in gaseous effluents - Part 1: General requirements | GBP | 20 | 20
Definitive | BSI | BS EN ISO 13165-3:2024 - TC | 2024 | Tracked Changes. Water quality. Radium-226 - Test method using coprecipitation and gamma-ray spectrometry | GBP | 326 | 326
ACTIVE | DIN | DIN EN ISO 13164-4 : 2025 | 2025 | Water quality - Radon-222 - Part 4: Test method using two-phase liquid scintillation counting (ISO 13164-4:2023) | EUR | 119.44 | 119.44
Definitive | BSI | BS EN ISO 13165-3:2024 | 2024 | Water quality. Radium-226 - Test method using coprecipitation and gamma-ray spectrometry | GBP | 232 | 232
ACTIVE | IEC | IEC TR 63424-1:2024 | 2024 | Validation of dynamic power control and exposure time-averaging algorithms - Part 1: Cellular network implementations for SAR at frequencies up to 6 GHz | CHF | 405 | 405
ACTIVE | ASTM | ASTM 51026 : 23e1 | 2023 | Standard Practice for Using the Fricke Dosimetry System | USD | 72 | 72
ACTIVE | ASTM | ASTM 51956 : 21e1 | 2021 | Standard Practice for Use of a Thermoluminescence-Dosimetry System (TLD System) for Radiation Processing | USD | 72 | 72
ACTIVE | ASTM | ASTM E3239 : 21e1 | 2021 | Standard Guide for Using Statistical Process Control Principles for Routine Dosimetry in Radiation Processing | USD | 104 | 104
ACTIVE | ASTM | ASTM 51818 : 20e1 | 2020 | Standard Practice for Dosimetry in an Electron Beam Facility for Radiation Processing at Energies Between 80 and 300 keV | USD | 80 | 80
ACTIVE | ASTM | ASTM 52701 : 13(2020)e1 | 2013 | Standard Guide for Performance Characterization of Dosimeters and Dosimetry Systems for Use in Radiation Processing | USD | 72 | 72
ACTIVE | ASTM | ASTM 51940 : 22e1 | 2022 | Standard Guidance for Dosimetry for Sterile Insect Release Programs | USD | 80 | 80
ACTIVE | ASTM | ASTM ISO/ASTM52628 : 20e1 | 2020 | Standard Practice for Dosimetry in Radiation Processing | USD | 80 | 80
ACTIVE | ASTM | ASTM 51900 : 23e1 | 2023 | Standard Guidance for Dosimetry for Radiation Research | USD | 72 | 72
ACTIVE | ASTM | ASTM 51707 : 22e1 | 2022 | Standard Guide for Estimation of Measurement Uncertainty in Dosimetry for Radiation Processing | USD | 80 | 80
ACTIVE | ASTM | ASTM 51650 : 21e1 | 2021 | Standard Practice for Use of a Cellulose Triacetate Dosimetry System | USD | 72 | 72
ACTIVE | ASTM | ASTM 51607 : 22e1 | 2022 | Standard Practice for Use of an Alanine-EPR Dosimetry System | USD | 72 | 72
ACTIVE | ASTM | ASTM 51401 : 21e1 | 2021 | Standard Practice for Use of a Dichromate Dosimetry System | USD | 72 | 72
ACTIVE | ASTM | ASTM 51275 : 21e1 | 2021 | Standard Practice for Use of a Radiochromic Film Dosimetry System | USD | 72 | 72
Published | ISO | ISO 13165-3:2024 | 2024 | Water quality — Radium-226 — Part 3: Test method using coprecipitation and gamma-ray spectrometry | CHF | 98 | 98
Published | ISO | ISO 4721:2024 | 2024 | Water quality — Strontium 90 — Test method using ICP-MS | CHF | 132 | 132
Published | ISO | ISO 4722-2:2024 | 2024 | Water quality — Thorium 232 — Part 2: Test method using ICP-MS | CHF | 98 | 98
Published | ISO | ISO 4702:2024 | 2024 | Water quality — Zirconium 93 — Test method using ICP-MS | CHF | 98 | 98
Definitive | BSI | BS ISO 4702:2024 | 2024 | Water quality. Zirconium 93. Test method using ICP-MS | GBP | 232 | 232
Definitive | BSI | BS ISO 4722-2:2024 | 2024 | Water quality. Thorium 232 - Test method using ICP-MS | GBP | 232 | 232
Definitive | BSI | BS ISO 4721:2024 | 2024 | Water quality. Strontium 90. Test method using ICP-MS | GBP | 232 | 232
Definitive | BSI | BS ISO 4717:2024 | 2024 | Water quality. Protactinium 231. Test method using ICP-MS | GBP | 232 | 232
Published | ISO | ISO 4717:2024 | 2024 | Water quality — Protactinium 231 — Test method using ICP-MS | CHF | 98 | 98
ACTIVE | ASTM | ASTM 51702 : 13(2021)e1 | 2013 | Standard Practice for Dosimetry in a Gamma Facility for Radiation Processing | USD | 72 | 72
ACTIVE | ASTM | ASTM 51631 : 20e1 | 2020 | Standard Practice for Use of Calorimetric Dosimetry Systems for Dose Measurements and Routine Dosimetry System Calibration in Electron Beams | USD | 72 | 72
ACTIVE | ASTM | ASTM 51608 : 15(2022)e1 | 2015 | Standard Practice for Dosimetry in an X-Ray (Bremsstrahlung) Facility for Radiation Processing at Energies between 50 keV and 7.5 MeV | USD | 80 | 80
ACTIVE | ASTM | ASTM 51539 : 23e1 | 2023 | Standard Guidance for Use of Radiation-Sensitive Indicators | USD | 64 | 64
ACTIVE | ASTM | ASTM E3270 : 21e1 | 2021 | Standard Guide for Operational Qualification of Gamma Irradiators | USD | 113 | 113
ACTIVE | ASTM | ASTM 51276 : 19e1 | 2019 | Standard Practice for Use of a Polymethylmethacrylate Dosimetry System | USD | 72 | 72
ACTIVE | ASTM | ASTM 51310 : 22e1 | 2022 | Standard Practice for Use of a Radiochromic Optical Waveguide Dosimetry System | USD | 72 | 72
ACTIVE | ASTM | ASTM 51261 : 13(2020)e1 | 2013 | Standard Practice for Calibration of Routine Dosimetry Systems for Radiation Processing | USD | 80 | 80
ACTIVE | ASTM | ASTM C1343 : 24 | 2024 | Standard Test Method for Determination of Low Mass Density/Fractions of Uranium in Oils, Organic Liquids, and Pellets by X-ray Fluorescence | USD | 72 | 72
ACTIVE | DIN | DIN EN ISO 13165-2 : 2024 | 2024 | Water quality - Radium-226 - Part 2: Test method using emanometry (ISO 13165-2:2022) | EUR | 110.75 | 110.75
ACTIVE | ASTM | ASTM 52116 : 13(2020)e1 | 2013 | Standard Practice for Dosimetry for a Self-Contained Dry-Storage Gamma Irradiator | USD | 80 | 80
ACTIVE | ASTM | ASTM 51649 : 22e1 | 2022 | Standard Practice for Electron Beam Radiation Processing at Energies Between 300 keV and 25 MeV | USD | 104 | 104
Definitive | BSI | 24/30502794 DC | 25 | BS IEC 60951-4 Nuclear power plants - Instrumentation important to safety - Radiation monitoring for accident and post-accident conditions - Part 4: Equipment for continuous in-line or on-line monitoring of radioactivity in process streams | GBP | 20 | 20
Definitive | BSI | 24/30502791 DC | 25 | BS IEC 60951-2 Nuclear power plants - Instrumentation important to safety - Radiation monitoring for accident and post-accident conditions - Part 2: Equipment for continuous off-line monitoring of radioactivity ingaseous effluents and ventilation air | GBP | 20 | 20
ACTIVE | DIN | DIN EN ISO 13163 : 2024 | 2024 | Water quality - Lead-210 - Test method using liquid scintillation counting (ISO 13163:2021) | EUR | 127.94 | 127.94
ACTIVE | DIN | DIN EN ISO 13160 : 2024 | 2024 | Water quality - Strontium 90 and strontium 89 - Test methods using liquid scintillation counting or proportional counting (ISO 13160:2021) | EUR | 162.43 | 162.43
Definitive | BSI | BS EN IEC 61674:2024 - TC | 2024 | Tracked Changes. Medical electrical equipment. Dosimeters with ionization chambers and/or semiconductor detectors as used in X-ray diagnostic imaging | GBP | 382 | 382
Definitive | BSI | 24/30479951 DC | 9 | BS ISO 19581 Measurement of radioactivity - Gamma emitting radionuclides - Rapid screening method using scintillation detector gamma-ray spectrometry | GBP | 20 | 20
Definitive | BSI | BS ISO 23548:2024 | 2024 | Measurement of radioactivity. Alpha emitting radionuclides. Generic test method using alpha spectrometry | GBP | 306 | 306
ACTIVE | IEC | IEC 63391:2024 | 2024 | Active millimetre-wave systems for security screening of humans - General requirements | CHF | 160 | 160
ACTIVE | DIN | DIN EN ISO 22017 : 2024 | 2024 | Water quality - Guidance for rapid radioactivity measurements in nuclear or radiological emergency situation (ISO 22017:2020) | EUR | 127.94 | 127.94
ACTIVE | DIN | DIN EN ISO 13161 : 2024 | 2024 | Water quality - Polonium 210 - Test method using alpha spectrometry (ISO 13161:2020) | EUR | 119.44 | 119.44
Definitive | BSI | 24/30479955 DC | 2 | BS ISO 19361 Measurement of radioactivity. Determination of beta emitters activities. Test method using liquid scintillation counting | GBP | 20 | 20
Definitive | BSI | BS EN IEC 61674:2024 | 2024 | Medical electrical equipment. Dosimeters with ionization chambers and/or semiconductor detectors as used in X-ray diagnostic imaging | GBP | 272 | 272
ACTIVE | DIN | DIN EN ISO 20785-3 : 2024 | 2024 | Dosimetry for exposures to cosmic radiation in civilian aircraft - Part 3: Measurements at aviation altitudes (ISO 20785-3:2023) | EUR
ACTIVE | DIN | DIN EN 50527-2-3 : 2023 | 2023 | Procedure for the assessment of the exposure to electromagnetic fields of workers bearing active implantable medical devices - Part 2-3: Specific assessment for workers with implantable neurostimulators | EUR
Definitive | BSI | BS EN ISO 20044:2024 | 2024 | Measurement of radioactivity in the environment. Air: aerosol particles. Test method using sampling by filter media | GBP | 322 | 322
Definitive | BSI | BS EN ISO 20045:2024 | 2024 | Measurement of the radioactivity in the environment. Air: tritium. Test method using bubbler sampling | GBP | 272 | 272
Definitive | BSI | BS EN ISO 8529-3:2024 | 2024 | Neutron reference radiation fields - Calibration of area and personal dosemeters and determination of their response as a function of neutron energy and angle of incidence | GBP | 166 | 166
Definitive | BSI | BS EN ISO 18589-2:2024 | 2024 | Measurement of radioactivity in the environment. Soil - Guidance for the selection of the sampling strategy, sampling and pre-treatment of samples | GBP | 272 | 272
ACTIVE | DIN | DIN EN ISO 13165-1 : 2024 | 2024 | Water quality - Radium-226 - Part 1: Test method using liquid scintillation counting (ISO 13165-1:2022) | EUR | 110.75 | 110.75
ACTIVE | DIN | DIN EN ISO 11704 : 2024 | 2024 | Water quality - Gross alpha and gross beta activity - Test method using liquid scintillation counting (ISO 11704:2018) | EUR | 119.44 | 119.44
ACTIVE | ASTM | ASTM E910 : 24 | 2024 | Standard Test Method for Application and Analysis of Helium Accumulation Fluence Monitors for Reactor Vessel Surveillance | USD | 80 | 80
Definitive | BSI | 24/30468668 DC | 3 | BS ISO 13165-4 Water quality - Radium-226 - Part 4: Test method using alpha spectrometry | GBP | 20 | 20
ACTIVE | DIN | DIN 44808-1 (DRAFT) : 2024 | 2024 | Chronometric dating methods in geosciences and archaeology by luminescence - Part 1: Reporting of equivalent doses and dating results; Text in German and English | EUR | 102.34 | 102.34
ACTIVE | ASTM | ASTM E262 : 17(2024)e1 | 2017 | Standard Test Method for Determining Thermal Neutron Reaction Rates and Thermal Neutron Fluence Rates by Radioactivation Techniques | USD | 80 | 80
ACTIVE | ASTM | ASTM D7282 : 24 | 2024 | Standard Practice for Setup, Calibration, and Quality Control of Instruments Used for Radioactivity Measurements | USD | 104 | 104
Definitive | BSI | 24/30466508 DC | 29 | ISO 18510-1 Measurement of radioactivity in the environment — Bioindicators - Part 1: General guide for the sampling, conditioning and pre-treatment | GBP | 20 | 20
ACTIVE | DIN | DIN EN ISO 22125-2 : 2024 | 2024 | Water quality - Technetium-99 - Part 2: Test method using inductively coupled plasma mass spectrometry (ICP-MS) (ISO 22125-2:2019) | EUR | 127.94 | 127.94
ACTIVE | DIN | DIN EN ISO 22125-1 : 2024 | 2024 | Water quality - Technetium-99 - Part 1: Test method using liquid scintillation counting (ISO 22125-1:2019) | EUR | 127.94 | 127.94
Definitive | BSI | 24/30490989 DC | 5 | BS IEC 61874 Nuclear instrumentation - Geophysical borehole instrumentation to determine rock density ('density logging') | GBP | 20 | 20
Definitive | BSI | BS EN IEC 61098:2024 - TC | 2024 | Tracked Changes. Radiation protection instrumentation. Installed personnel surface contamination monitors | GBP | 488 | 488
Definitive | BSI | BS EN ISO 18589-3:2024 - TC | 2024 | Tracked Changes. Measurement of radioactivity in the environment. Soil - Test method of gamma-emitting radionuclides using gamma-ray spectrometry | GBP | 430 | 430
Definitive | BSI | BS EN ISO 18589-3:2024 | 2024 | Measurement of radioactivity in the environment. Soil - Test method of gamma-emitting radionuclides using gamma-ray spectrometry | GBP | 306 | 306
Definitive | BSI | 24/30486634 DC | 15 | BS IEC 60050-395 International Electrotechnical Vocabulary (IEV) - Part 395. Nuclear instrumentation. Physical phenomena, basic concepts, instruments, systems, equipment and detectors | GBP | 36 | 36
Definitive | BSI | BS EN ISO 13165-1:2024 - TC | 2024 | Tracked Changes. Water quality. Radium-226 - Test method using liquid scintillation counting | GBP | 326 | 326
Definitive | BSI | BS EN IEC 61098:2024 | 2024 | Radiation protection instrumentation. Installed personnel surface contamination monitors | GBP | 348 | 348
Definitive | BSI | BS EN ISO 13165-1:2024 | 2024 | Water quality. Radium-226 - Test method using liquid scintillation counting | GBP | 232 | 232
Definitive | BSI | 24/30487629 DC | 16 | BS IEC 63506 Calibration of the prompt fission neutron logging tools | GBP | 20 | 20
ACTIVE | JSA | JIS Z 4601:2009 | 2009 | Radioactive dust samplers | JPY | 4600 | 4600
ACTIVE | JSA | JIS Z 4501:2011 | 2011 | Testing method of lead equivalent for X-ray protective devices | JPY | 3400 | 3400
Definitive | BSI | BS ISO 24426:2023 | 2023 | Radiological protection. Content of input data for the statistical analysis of dose records of individuals monitored for occupational exposure to ionizing radiation | GBP | 232 | 232
Definitive | BSI | 24/30487130 DC | 2 | BS EN 50566:2017/A2:2024 Product standard to demonstrate the compliance of wireless communication devices with the basic restrictions and exposure limit values related to human exposure to electromagnetic fields in the frequency range from 30 MHz to 6 GHz: hand-held and body mounted devices in close proximity to the human body | GBP | 20 | 20
ACTIVE | IEEE | IEEE N42.6:1980 | 1980 | American National Standard Interrelationship of Quartz-Fiber Electrometer Type Exposure Meters and Companion Exposure Meter Chargers | USD | 50
ACTIVE | IEEE | IEEE N42.53:2021 | 2021 | American National Standard Performance Criteria for Backpack-Based Radiation-Detection Systems Used for Homeland Security | USD | 68 | 87
ACTIVE | IEEE | IEEE N42.49A:2011 | 2011 | American National Standard for Performance Criteria for Alarming Electronic Personal Emergency Radiation Detectors (PERDs) for Exposure Control | USD | 103 | 126
ACTIVE | IEEE | IEEE N42.31:2003 | 2003 | American National Standard for Measurement Procedures for Resolution and Efficiency of Wide-Bandgap Semiconductor Detectors of Ionizing Radiation | USD | 106 | 124
ACTIVE | IEEE | IEEE N42.28:2002 | 2002 | American National Standard Calibration of Germanium Detectors for In-Situ Gamma-Ray Measurements | USD | 90 | 99
ACTIVE | IEEE | IEEE N42.27:1999 | 1999 | American National Standard for Determination of Uniformity of Solid Gamma-Emitting Flood Sources | USD | 111 | 128
ACTIVE | IEEE | IEEE N42.25:1997 | 1997 | American National Standard Calibration and Usage of Alpha/Beta Proportional Counters | USD | 157 | 179
ACTIVE | IEEE | IEEE N42.23:1996 | 1996 | American National Standard Measurement and Associated Instrumentation Quality Assurance for Radioassay Laboratories | USD | 139 | 159
ACTIVE | IEEE | IEEE N42.17C:1989 | 1989 | Performance Specifications for Health Physics Instrumentation--Portable Instrumentation for Use in Extreme Environmental Conditions, American National Standard | USD | 156
ACTIVE | IEEE | IEEE N42.17B:1989 | 1989 | Performance Specifications for Health Physics Instrumentation - Occupational Airborne Radioactivity Monitoring Instrumentation, American National Standard | USD | 194 | 232
ACTIVE | IEEE | IEEE N42.17A:2003 | 2003 | American National Standard Performance Specifications for Health Physics Instrumentation-Portable Instrumentation for Use in Normal Environmental Conditions | USD | 84 | 107
ACTIVE | IEEE | IEEE N42.15:1997 | 1997 | American National Standard Check Sources for and Verification of Liquid-Scintillation Counting Systems | USD | 147 | 168
ACTIVE | IEEE | IEEE N42.14:1999 | 1999 | American National Standard for Calibration and Use of Germanium Spectrometers for the Measurement of Gamma-Ray Emission Rates of Radionuclides | USD | 181 | 217
ACTIVE | IEEE | IEEE N42.12:1994 | 1994 | American National Standard Calibration and Usage of Thallium-Activated Sodium Iodide Detector Systems for Assay of Radionuclides | USD | 132 | 152
ACTIVE | IEEE | IEEE N323D:2002 | 2002 | American National Standard for Installed Radiation Protection Instrumentation | USD | 131 | 149
ACTIVE | IEEE | IEEE 398:1972 | 1972 | IEEE Standard Test Procedures for Photomultipliers for Scintillation Counting and Glossary for Scintillation Counting Field | USD | 113
ACTIVE | IEEE | IEEE 301:1988 | 1988 | IEEE Standard Test Procedures for Amplifiers and Preamplifiers used with Detectors of Ionizing Radiation | USD | 191
ACTIVE | IEEE | IEEE 300:1988 | 1988 | IEEE Standard Test Procedures for Semiconductor Charged-Particle Detectors | USD | 188
ACTIVE | IEEE | IEEE N323:1978 | 1978 | American National Standard Radiation Protection Instrumentation Test and Calibration | USD | 95
ACTIVE | IEEE | IEEE N322:1997 | 1997 | American National Standard Inspection,Test, Construction, and Performance Requirements for Direct Reading Electrostatic/Electroscope Type Dosimeters | USD | 140 | 162
ACTIVE | IEEE | IEEE N320:1979 | 1979 | American National Standard Performance Specifications for Reactor Emergency Radiological Monitoring Instrumentation | USD | 118
ACTIVE | IEEE | IEEE N317:1980 | 1980 | American National Standard Performance Criteria for Instrumentation Used for Inplant Plutonium Monitoring | USD | 113
ACTIVE | IEEE | IEEE 1160:1993 | 1993 | IEEE Standard Test Procedures for High-Purity Germanium Crystals for Radiation Detectors | USD | 165 | 189
Definitive | BSI | BS ISO 11929-4:2022 - TC | 2022 | Tracked Changes. Determination of the characteristic limits (decision threshold, detection limit and limits of the coverage interval) for measurements of ionizing radiation. Fundamentals and application - Guidelines to applications | GBP | 488 | 488
Definitive | BSI | BS ISO 4685:2024 | 2024 | Water quality. Radium 226. Test method using ICP-MS | GBP | 232 | 232
Published | ISO | ISO 4685 : 2024 | 2024 | Water quality — Radium 226 — Test method using ICP-MS | CHF | 98 | 98
Definitive | BSI | BS EN ISO 13165-2:2022 - TC | 2022 | Tracked Changes. Water quality. Radium-226 - Test method using emanometry | GBP | 326 | 326
Definitive | BSI | BS EN ISO 13164-4:2023 - TC | 2023 | Tracked Changes. Water quality. Radon-222 - Test method using two-phase liquid scintillation counting | GBP | 452 | 452
Definitive | BSI | BS ISO 6980-3:2023 - TC | 2023 | Tracked Changes. Nuclear energy. Reference beta-particle radiation - Calibration of area and personal dosemeters and the determination of their response as a function of beta radiation energy and angle of incidence | GBP | 326 | 326
Definitive | BSI | BS EN ISO 13163:2022 - TC | 2022 | Tracked Changes. Water quality. Lead-210. Test method using liquid scintillation counting | GBP | 382 | 382
Definitive | BSI | 23/30482667 DC | 22 | BS EN IEC 62232/AMD1 Amendment 1 - Determination of RF field strength, power density and SAR in the vicinity of base stations for the purpose of evaluating human exposure | GBP | 66 | 66
Definitive | BSI | BS EN ISO 8529-1:2023 | 2023 | Neutron reference radiations fields - Characteristics and methods of production | GBP | 272 | 272
Published | ISO | ISO 24426:2023 | 2023 | Radiological protection — Content of input data for the statistical analysis of dose records of individuals monitored for occupational exposure to ionizing radiation | CHF | 132 | 132
Definitive | BSI | BS EN ISO 11929-4:2023 | 2023 | Determination of the characteristic limits (decision threshold, detection limit and limits of the coverage interval) for measurements of ionizing radiation. Fundamentals and application - Guidelines to applications | GBP | 348 | 348
Published | ISO | ISO 6980-3:2023 | 2023 | Nuclear energy — Reference beta-particle radiation — Part 3: Calibration of area and personal dosemeters and the determination of their response as a function of beta radiation energy and angle of incidence | CHF | 132 | 132
Published | ISO | ISO 6980-2:2023 | 2023 | Nuclear energy — Reference beta-particle radiation — Part 2: Calibration fundamentals related to basic quantities characterizing the radiation field | CHF | 177 | 177
Definitive | BSI | BS ISO 6980-2:2023 - TC | 2023 | Tracked Changes. Nuclear energy. Reference beta-particle radiation - Calibration fundamentals related to basic quantities characterizing the radiation field | GBP | 452 | 452
Definitive | BSI | BS ISO 6980-1:2023 - TC | 2023 | Tracked Changes. Nuclear energy. Reference beta-particle radiation - Part 1. Methods of production | GBP | 326 | 326
Definitive | BSI | BS ISO 6980-2:2023 | 2023 | Nuclear energy. Reference beta-particle radiation - Calibration fundamentals related to basic quantities characterizing the radiation field | GBP | 322 | 322
Definitive | BSI | BS ISO 6980-3:2023 | 2023 | Nuclear energy. Reference beta-particle radiation - Calibration of area and personal dosemeters and the determination of their response as a function of beta radiation energy and angle of incidence | GBP | 232 | 232
Definitive | BSI | BS ISO 6980-1:2023 | 2023 | Nuclear energy. Reference beta-particle radiation - Methods of production | GBP | 232 | 232
Published | ISO | ISO 6980-1:2023 | 2023 | Nuclear energy — Reference beta-particle radiation — Part 1: Methods of production | CHF | 132 | 132
ACTIVE | DIN | DIN ISO 18510-1 (DRAFT) : 2023 | 2023 | Measurement of the radioactivity in the environment - Bioindicator - Part 1: General guide for the sampling, conditioning and pre-treatment (ISO/CD 18510-1:2023); Text in German and English | EUR | 20.48 | 20.48
ACTIVE | DIN | DIN EN ISO 19238 : 2023 | 2023 | Radiological protection - Performance criteria for service laboratories performing biological dosimetry by cytogenetics - Dicentric assay (ISO 19238:2023) | EUR | 162.43 | 162.43
Published | ISO | ISO 4723:2023 | 2023 | Water quality — Actinium-227 — Test method using alpha-spectrometry | CHF | 132
Definitive | BSI | BS ISO 4723:2023 | 2023 | Water quality. Actinium-227. Test method using alpha-spectrometry | GBP | 272 | 272
Definitive | BSI | BS ISO 4722-1:2023 | 2023 | Water quality. Thorium 232 - Test method using alpha spectrometry | GBP | 232 | 232
Published | ISO | ISO 4722-1:2023 | 2023 | Water quality — Thorium 232 — Part 1: Test method using alpha spectrometry | CHF | 98 | 98
Definitive | BSI | BS EN ISO 19238:2023 - TC | 2023 | Tracked Changes. Radiological protection - Performance criteria for service laboratories performing biological dosimetry by cytogenetics - Dicentric assay | GBP | 290 | 290
Definitive | BSI | BS EN ISO 19238:2023 | 2023 | Radiological protection. Performance criteria for service laboratories performing biological dosimetry by cytogenetics. Dicentric assay | GBP | 306 | 306
Definitive | BSI | 23/30429411 DC | 8 | BS ISO 23548 Measurement of radioactivity. Alpha emitting radionuclides. Generic test method using alpha spectrometry | GBP | 20 | 20
Published | ISO | ISO 20956:2023 | 2023 | Radiological protection — Low dose rate calibration of instruments for environmental and area monitoring | CHF | 98 | 98
Definitive | BSI | BS EN 50566:2017+A1:2023 | 2017 | Product standard to demonstrate the compliance of wireless communication devices with the basic restrictions and exposure limit values related to human exposure to electromagnetic fields in the frequency range from 30 MHz to 6 GHz: hand-held and body mounted devices in close proximity to the human body | GBP | 142 | 142
Definitive | BSI | 23/30458790 DC | 29 | BS ISO 4721. Water quality. Strontium 90. Test method using ICP/MS | GBP | 20 | 20
Definitive | BSI | BS EN ISO 23547:2023 | 2023 | Measurement of radioactivity. Gamma emitting radionuclides. Reference measurement standard specifications for the calibration of gamma-ray spectrometers | GBP | 166 | 166
Definitive | BSI | BS EN ISO 13164-4:2023 | 2023 | Water quality. Radon-222 - Test method using two-phase liquid scintillation counting | GBP | 232 | 232
Definitive | BSI | 23/30475761 DC | 21 | BS EN IEC 60761-1. Radiation protection instrumentation. Equipment for continuous monitoring of radioactivity in gaseous effluents - Part 1. General requirements | GBP | 20 | 20
ACTIVE | ASTM | ASTM D3648 : 23 | 2023 | Standard Practices for the Measurement of Radioactivity | USD | 104 | 104
ACTIVE | ASTM | ASTM E481 : 23 | 2023 | Standard Practice for Measuring Neutron Fluence Rates by Radioactivation of Cobalt and Silver | USD | 72 | 72
ACTIVE | ASTM | ASTM E266 : 23 | 2023 | Standard Test Method for Measuring Fast-Neutron Reaction Rates by Radioactivation of Aluminum | USD | 64 | 64
ACTIVE | JSA | JIS Z 4520:2007 | 2007 | Test procedures for germanium gamma-ray detectors | JPY | 10000 | 10000
ACTIVE | JSA | JIS Z 4511:2018 | 2018 | X and gamma reference radiation for calibrating dosemeters and doserate meters and for determining their response as a function of photon energy | JPY | 19600 | 19600
ACTIVE | JSA | JIS Z 4342:2013 | 2013 | Equipment for measuring specific activity of gamma-emitting radionuclides in foodstuffs | JPY | 12400 | 12400
ACTIVE | JSA | JIS Z 4337:2011 | 2011 | Installed articles surface contamination monitoring assemblies for beta emitters | JPY | 8000 | 8000
ACTIVE | JSA | JIS C 3407:2003 | 2003 | High voltage cables for X-ray apparatus | JPY | 3400 | 3400
Published | ISO | ISO 8529-2:2000 | 2000 | Reference neutron radiations — Part 2: Calibration fundamentals of radiation protection devices related to the basic quantities characterizing the radiation field | CHF | 155 | 155
Published | ISO | ISO 11665-7:2012 | 2012 | Measurement of radioactivity in the environment — Air: radon-222 — Part 7: Accumulation method for estimating surface exhalation rate | CHF | 132 | 132
Published | ISO | ISO 9696:2017 | 2017 | Water quality — Gross alpha activity — Test method using thick source | CHF | 98 | 98
Published | ISO | ISO 12789-2:2008 | 2008 | Reference radiation fields — Simulated workplace neutron fields — Part 2: Calibration fundamentals related to the basic quantities | CHF | 98 | 98
Published | ISO | ISO 21439:2009 | 2009 | Clinical dosimetry — Beta radiation sources for brachytherapy | CHF | 221 | 221
Published | ISO | ISO 12789-1:2008 | 2008 | Reference radiation fields — Simulated workplace neutron fields — Part 1: Characteristics and methods of production | CHF | 132 | 132
Published | ISO | ISO 8529-1:2001/Cor 1:2008 | 2008 | Reference neutron radiations — Part 1: Characteristics and methods of production — Technical Corrigendum 1 | CHF
Published | ISO | ISO 13164-1:2013 | 2013 | Water quality — Radon-222 — Part 1: General principles | CHF | 132 | 132
Published | ISO | ISO 13164-2:2013 | 2013 | Water quality — Radon-222 — Part 2: Test method using gamma-ray spectrometry | CHF | 98 | 98
Published | ISO | ISO 13164-3:2013 | 2013 | Water quality — Radon-222 — Part 3: Test method using emanometry | CHF | 132 | 132
Published | ISO | ISO 16641:2014 | 2014 | Measurement of radioactivity in the environment — Air — Radon 220: Integrated measurement methods for the determination of the average activity concentration using passive solid-state nuclear track detectors | CHF | 98 | 98
Published | ISO | ISO 11665-11:2016 | 2016 | Measurement of radioactivity in the environment — Air: radon-222 — Part 11: Test method for soil gas with sampling at depth | CHF | 132 | 132
Published | ISO | ISO 20785-3:2023 | 2023 | Dosimetry for exposures to cosmic radiation in civilian aircraft — Part 3: Measurements at aviation altitudes | CHF | 98 | 98
Published | ISO | ISO 16638-1:2015 | 2015 | Radiological protection — Monitoring and internal dosimetry for specific materials — Part 1: Inhalation of uranium compounds | CHF | 177 | 177
Published | ISO | ISO 11665-8:2019 | 2019 | Measurement of radioactivity in the environment — Air: radon-222 — Part 8: Methodologies for initial and additional investigations in buildings | CHF | 132 | 132
Published | ISO | ISO 19017:2015 | 2015 | Guidance for gamma spectrometry measurement of radioactive waste | CHF | 177 | 177
Published | ISO | ISO 21484:2017 | 2017 | Nuclear Energy — Fuel technology — Determination of the O/M ratio in MOX pellets by the gravimetric method | CHF | 43 | 43
Published | ISO | ISO 4037-4:2019 | 2019 | Radiological protection — X and gamma reference radiation for calibrating dosemeters and doserate meters and for determining their response as a function of photon energy — Part 4: Calibration of area and personal dosemeters in low energy X reference radiation fields | CHF | 98 | 98
Published | ISO | ISO 4037-2:2019 | 2019 | Radiological protection — X and gamma reference radiation for calibrating dosemeters and doserate meters and for determining their response as a function of photon energy — Part 2: Dosimetry for radiation protection over the energy ranges from 8 keV to 1,3 MeV and 4 MeV to 9 MeV | CHF | 155 | 155
Published | ISO | ISO 4037-3:2019 | 2019 | Radiological protection — X and gamma reference radiation for calibrating dosemeters and doserate meters and for determining their response as a function of photon energy — Part 3: Calibration of area and personal dosemeters and the measurement of their response as a function of energy and angle of incidence | CHF | 199 | 199
Published | ISO | ISO 4037-1:2019 | 2019 | Radiological protection — X and gamma reference radiation for calibrating dosemeters and doserate meters and for determining their response as a function of photon energy — Part 1: Radiation characteristics and production methods | CHF | 177 | 177
Published | ISO | ISO 16638-2:2019 | 2019 | Radiological protection — Monitoring and internal dosimetry for specific materials — Part 2: Ingestion of uranium compounds | CHF | 155 | 155
Published | ISO | ISO 20043-1:2021 | 2021 | Measurement of radioactivity in the environment — Guidelines for effective dose assessment using environmental monitoring data — Part 1: Planned and existing exposure situation | CHF | 155 | 155
Published | ISO | ISO 18589-4:2019 | 2019 | Measurement of radioactivity in the environment — Soil — Part 4: Plutonium 238 and plutonium 239 + 240 — Test method using alpha spectrometry | CHF | 132 | 132
Published | ISO | ISO 18589-6:2019 | 2019 | Measurement of radioactivity in the environment — Soil — Part 6: Gross alpha and gross beta activities — Test method using gas-flow proportional counting | CHF | 65 | 65
Published | ISO | ISO 18589-5:2019 | 2019 | Measurement of radioactivity in the environment — Soil — Part 5: Strontium 90 — Test method using proportional counting or liquid scintillation counting | CHF | 155 | 155
Published | ISO | ISO 13167:2023 | 2023 | Water quality — Plutonium, americium, curium and neptunium — Test method using alpha spectrometry | CHF | 155 | 155
Published | ISO | ISO 20043-2:2023 | 2023 | Measurement of radioactivity in the environment — Guidelines for effective dose assessment using environmental monitoring data — Part 2: Emergency exposure situation | CHF | 155 | 155
Published | ISO | ISO/TS 11665-12:2018 | 2018 | Measurement of radioactivity in the environment — Air: radon-222 — Part 12: Determination of the diffusion coefficient in waterproof materials: membrane one-side activity concentration measurement method | CHF | 155 | 155
Published | ISO | ISO 18589-1:2019 | 2019 | Measurement of radioactivity in the environment — Soil — Part 1: General guidelines and definitions | CHF | 98 | 98
Published | ISO | ISO 11704:2018 | 2018 | Water quality — Gross alpha and gross beta activity — Test method using liquid scintillation counting | CHF | 132 | 132
Published | ISO | ISO 22017:2020 | 2020 | Water quality — Guidance for rapid radioactivity measurements in nuclear or radiological emergency situation | CHF | 132 | 132
Published | ISO | ISO 22125-2:2019 | 2019 | Water quality — Technetium-99 — Part 2: Test method using inductively coupled plasma mass spectrometry (ICP-MS) | CHF | 132 | 132
Published | ISO | ISO 22125-1:2019 | 2019 | Water quality — Technetium-99 — Part 1: Test method using liquid scintillation counting | CHF | 132 | 132
Published | ISO | ISO 22515:2021 | 2021 | Water quality — Iron-55 — Test method using liquid scintillation counting | CHF | 132 | 132
Published | ISO | ISO 20044:2022 | 2022 | Measurement of radioactivity in the environment — Air: aerosol particles — Test method using sampling by filter media | CHF | 177 | 177
Published | ISO | ISO 22908:2020 | 2020 | Water quality — Radium 226 and Radium 228 — Test method using liquid scintillation counting | CHF | 155 | 155
Published | ISO | ISO 13161:2020 | 2020 | Water quality — Polonium 210 — Test method using alpha spectrometry | CHF | 132 | 132
Published | ISO | ISO 19461-2:2022 | 2022 | Radiological protection — Measurement for the clearance of waste contaminated with radioisotopes for medical application — Part 2: Management of solid radioactive waste in nuclear medicine facilities | CHF | 132 | 132
Published | ISO | ISO 13162:2021 | 2021 | Water quality — Carbon 14 — Test method using liquid scintillation counting | CHF | 132 | 132
Published | ISO | ISO 23547:2022 | 2022 | Measurement of radioactivity — Gamma emitting radionuclides — Reference measurement standard specifications for the calibration of gamma-ray spectrometers | CHF | 65 | 65
Published | ISO | ISO 8769:2020 | 2020 | Measurement of radioactivity — Alpha-, beta- and photon emitting radionuclides — Reference measurement standard specifications for the calibration of surface contamination monitors | CHF | 98 | 98
Published | ISO | ISO 11665-5:2020 | 2020 | Measurement of radioactivity in the environment — Air: radon-222 — Part 5: Continuous measurement methods of the activity concentration | CHF | 98 | 98
Published | ISO | ISO 11665-6:2020 | 2020 | Measurement of radioactivity in the environment — Air: radon-222 — Part 6: Spot measurement methods of the activity concentration | CHF | 98 | 98
Published | ISO | ISO 11665-9:2019 | 2019 | Measurement of radioactivity in the environment — Air: Radon-222 — Part 9: Test methods for exhalation rate of building materials | CHF | 177 | 177
Published | ISO | ISO 11665-1:2019 | 2019 | Measurement of radioactivity in the environment — Air: radon-222 — Part 1: Origins of radon and its short-lived decay products and associated measurement methods | CHF | 155 | 155
Published | ISO | ISO 11665-2:2019 | 2019 | Measurement of radioactivity in the environment — Air: radon-222 — Part 2: Integrated measurement method for determining average potential alpha energy concentration of its short-lived decay products | CHF | 98 | 98
Published | ISO | ISO 11665-3:2020 | 2020 | Measurement of radioactivity in the environment — Air: radon-222 — Part 3: Spot measurement method of the potential alpha energy concentration of its short-lived decay products | CHF | 132 | 132
Published | ISO | ISO 23655-1:2022 | 2022 | Water quality — Nickel-59 and nickel-63 — Part 1: Test method using liquid scintillation counting | CHF | 132 | 132
Published | ISO | ISO 23655-2:2022 | 2022 | Water quality — Nickel-59 and nickel-63 — Part 2: Test method using ICP-MS | CHF | 98 | 98
Published | ISO | ISO 19461-1:2018 | 2018 | Radiological protection — Measurement for the clearance of waste contaminated with radioisotopes for medical application — Part 1: Measurement of radioactivity | CHF | 98 | 98
Published | ISO | ISO 20899:2018 | 2018 | Water quality — Plutonium and neptunium — Test method using ICP-MS | CHF | 98 | 98
Published | ISO | ISO 13160:2021 | 2021 | Water quality — Strontium 90 and strontium 89 — Test methods using liquid scintillation counting or proportional counting | CHF | 177 | 177
Published | ISO | ISO 10703:2021 | 2021 | Water quality — Gamma-ray emitting radionuclides — Test method using high resolution gamma-ray spectrometry | CHF | 155 | 155
Published | ISO | ISO 13163:2021 | 2021 | Water quality — Lead-210 — Test method using liquid scintillation counting | CHF | 132 | 132
Published | ISO | ISO 8529-1:2021 | 2021 | Neutron reference radiations fields — Part 1: Characteristics and methods of production | CHF | 155 | 155
Published | ISO | ISO 13304-1:2020 | 2020 | Radiological protection — Minimum criteria for electron paramagnetic resonance (EPR) spectroscopy for retrospective dosimetry of ionizing radiation — Part 1: General principles | CHF | 132 | 132
Published | ISO | ISO 13165-2:2022 | 2022 | Water quality — Radium-226 — Part 2: Test method using emanometry | CHF | 98 | 98
Published | ISO | ISO 11665-4:2021 | 2021 | Measurement of radioactivity in the environment — Air: radon-222 — Part 4: Integrated measurement method for determining average activity concentration using passive sampling and delayed analysis | CHF | 155 | 155
Published | ISO | ISO 18589-2:2022 | 2022 | Measurement of radioactivity in the environment — Soil — Part 2: Guidance for the selection of the sampling strategy, sampling and pre-treatment of samples | CHF | 155 | 155
Published | ISO | ISO 11929-4:2022 | 2022 | Determination of the characteristic limits (decision threshold, detection limit and limits of the coverage interval) for measurements of ionizing radiation — Fundamentals and application — Part 4: Guidelines to applications | CHF | 221 | 221
Published | ISO | ISO 13165-1:2022 | 2022 | Water quality — Radium-226 — Part 1: Test method using liquid scintillation counting | CHF | 98 | 98
Published | ISO | ISO 13304-2:2020 | 2020 | Radiological protection — Minimum criteria for electron paramagnetic resonance (EPR) spectroscopy for retrospective dosimetry of ionizing radiation — Part 2: Ex vivo human tooth enamel dosimetry | CHF | 132 | 132
Published | ISO | ISO 13169:2018 | 2018 | Water quality — Uranium — Test method using alpha liquid scintillation counting | CHF | 98 | 98
Published | ISO | ISO 13164-4:2023 | 2023 | Water quality — Radon-222 — Part 4: Test method using two-phase liquid scintillation counting | CHF | 98 | 98
Published | ISO | ISO 18589-3:2023 | 2023 | Measurement of radioactivity in the environment — Soil — Part 3: Test method of gamma-emitting radionuclides using gamma-ray spectrometry | CHF | 155 | 155
Published | ISO | ISO 20045:2023 | 2023 | Measurement of the radioactivity in the environment — Air: tritium — Test method using bubbler sampling | CHF | 155 | 155
Published | ISO | ISO 19238:2023 | 2023 | Radiological protection — Performance criteria for service laboratories performing biological dosimetry by cytogenetics — Dicentric assay | CHF | 177 | 177
Published | ISO | ISO 8529-3:2023 | 2023 | Neutron reference radiation fields — Part 3: Calibration of area and personal dosemeters and determination of their response as a function of neutron energy and angle of incidence | CHF | 65 | 65
ACTIVE | IEEE | IEEE N42.47:2010 | 2010 | American National Standard for Measuring the Imaging Performance of X-ray and Gamma-ray Systems for Security Screening of Humans | USD | 129 | 161
ACTIVE | IEEE | IEEE N323C:2009 | 2009 | American National Standard Radiation Protection Instrumentation Test and Calibration – Air Monitoring Instruments | USD | 88 | 111
ACTIVE | IEEE | IEEE N42.48:2018 | 2018 | American National Standard Performance Requirements for Spectroscopic Personal Radiation Detectors (SPRDs) for Homeland Security | USD |  | 86
ACTIVE | IEEE | IEEE N42.20:2003 | 2003 | American Standard Performance Criteria for Active Personnel Radiation Monitors | USD | 114 | 132
ACTIVE | IEEE | IEEE N323B:2003 | 2003 | American National Standard for Radiation Protection Instrumentation Test and Calibration, Portable Survey Instrumentation for Near Background Operation | USD | 87
ACTIVE | IEEE | IEEE N42.13:2004 | 2004 | American National Standard Calibration and Usage of "Dose Calibrator" Ionization Chambers for the Assay of Radionuclides | USD | 114
ACTIVE | IEC | IEC 60050-395:2014 (EN-FR) | 2014 | International Electrotechnical Vocabulary (IEV) - Part 395: Nuclear instrumentation - Physical phenomena, basic concepts, instruments, systems, equipment and detectors | CHF | 475 | 475
ACTIVE | IEC | IEC TR 62669:2019 | 2019 | Case studies supporting IEC 62232 - Determination of RF field strength, power density and SAR in the vicinity of radiocommunication base stations for the purpose of evaluating human exposure | CHF | 430 | 430
ACTIVE | IEC | IEC 61301:1994 (EN-FR) | 1994 | Nuclear instrumentation - Digital bus for NIM instruments | CHF | 80 | 80
ACTIVE | IEC | IEC 61322:2020 (EN-FR) | 2020 | Radiation protection instrumentation - Installed ambient dose equivalent rate meters, warning and monitoring assemblies for neutrons with energies from thermal to 20 MeV | CHF | 335 | 335
ACTIVE | IEC | IEC 60544-5:2022 RLV | 2022 | Electrical insulating materials - Determination of the effects of ionizing radiation - Part 5: Procedures for assessment of ageing in service | CHF | 272 | 272
ACTIVE | IEC | IEC 60050-395:2014/AMD1:2016 (EN-FR) | 2016 | Amendment 1 - International Electrotechnical Vocabulary (IEV) - Part 395: Nuclear instrumentation - Physical phenomena, basic concepts, instruments, systems, equipment and detectors | CHF | 10 | 10
ACTIVE | IEC | IEC 60050-881:1983 (EN-FR-RU) | 1983 | International Electrotechnical Vocabulary (IEV) - Part 881: Radiology and radiological physics | CHF | 405 | 405
ACTIVE | IEC | IEC 62577:2009 (EN-FR) | 2009 | Evaluation of human exposure to electromagnetic fields from a stand-alone broadcast transmitter (30 MHz - 40 GHz) | CHF | 160 | 160
ACTIVE | IEC | IEC TS 61244-2:2014 (EN-FR) | 2014 | Determination of long-term radiation ageing in polymers - Part 2: Procedures for predicting ageing at low dose rates | CHF | 260 | 260
ACTIVE | IEC | IEC TS 61244-1:2014 (EN-FR) | 2014 | Determination of long-term radiation ageing in polymers - Part 1: Techniques for monitoring diffusion-limited oxidation | CHF | 295 | 295
ACTIVE | IEC | IEC 61452:2021 | 2021 | Nuclear instrumentation - Measurement of activity or emission rate of gamma-ray emitting radionuclides - Calibration and use of germanium-based spectrometers | CHF | 405 | 405
ACTIVE | IEC | IEC 61239:1993 (EN-FR) | 1993 | Nuclear instrumentation - Portable gamma radiation meters and spectrometers used for prospecting - Definitions, requirements and calibration | CHF | 40 | 40
ACTIVE | IEC | IEC 61228:2020 RLV | 2020 | Fluorescent ultraviolet lamps used for tanning - Measurement and specification method | CHF | 196 | 196
ACTIVE | IEC | IEC 61228:2020 (EN-FR) | 2020 | Fluorescent ultraviolet lamps used for tanning - Measurement and specification method | CHF | 115 | 115
ACTIVE | IEC | IEC TR 61244-4:2019 | 2019 | Determination of long-term radiation ageing in polymers - Part 4: Effects of different temperatures and dose rates under radiation conditions | CHF | 260 | 260
ACTIVE | IEC | IEC 61098:2023 (EN-FR) | 2023 | Radiation protection instrumentation - Installed personnel surface contamination monitors | CHF | 380 | 380
ACTIVE | IEC | IEC 61145:1992 (EN-FR) | 1992 | Calibration and usage of ionization chamber systems for assay of radionuclides | CHF | 40 | 40
ACTIVE | IEC | IEC 60544-5:2022 (EN-FR) | 2022 | Electrical insulating materials - Determination of the effects of ionizing radiation - Part 5: Procedures for assessment of ageing in service | CHF | 160 | 160
ACTIVE | IEC | IEC 60544-4:2003 (EN-FR) | 2003 | Electrical insulating materials - Determination of the effects of ionizing radiation - Part 4: Classification system for service in radiation environments | CHF | 40 | 40
ACTIVE | IEC | IEC 60544-2:2012 (EN-FR) | 2012 | Electrical insulating materials - Determination of the effects of ionizing radiation on insulating materials - Part 2: Procedures for irradiation and test | CHF | 160 | 160
ACTIVE | IEC | IEC 60544-1:2013 (EN-FR) | 2013 | Electrical insulating materials - Determination of the effects of ionizing radiation - Part 1: Radiation interaction and dosimetry | CHF | 260 | 260
ACTIVE | IEC | IEC 60973:1989 (EN-FR) | 1989 | Test procedures for germanium gamma-ray detectors | CHF | 260 | 260
ACTIVE | IEC | IEC 60982:1989 (EN-FR) | 1989 | Level measuring systems utilizing ionizing radiation with continuous or switching output | CHF | 80 | 80
ACTIVE | IEC | IEC 60759:1983 (EN-FR) | 1983 | Standard test procedures for semiconductor X-ray energy spectrometers | CHF | 295 | 295
ACTIVE | IEC | IEC 60759:1983/AMD1:1991 (EN-FR) | 1991 | Amendment 1 - Standard test procedures for semiconductor X-ray energy spectrometers | CHF | 10 | 10
ACTIVE | IEC | IEC 60692:1999 (EN-FR) | 1999 | Nuclear instrumentation - Density gauges utilizing ionizing radiation - Definitions and test methods | CHF | 115 | 115
ACTIVE | IEC | IEC 61584:2001 (EN-FR) | 2001 | Radiation protection instrumentation - Installed, portable or transportable assemblies - Measurement of air kerma direction and air kerma rate | CHF | 260 | 260
ACTIVE | IEC | IEC 60050-881:1983/AMD3:2020 (EN-FR) | 2020 | Amendment 3 - International Electrotechnical Vocabulary (IEV) - Part 881: Radiology and radiological physics | CHF | 10 | 10
ACTIVE | IEC | IEC 60050-881:1983/AMD2:2019 (EN-FR) | 2019 | Amendment 2 - International Electrotechnical Vocabulary (IEV) - Part 881: Radiology and radiological physics | CHF | 10 | 10
ACTIVE | IEC | IEC 60050-395:2014/AMD2:2020 (EN-FR) | 2020 | Amendment 2 - International Electrotechnical Vocabulary (IEV) - Part 395: Nuclear instrumentation - Physical phenomena, basic concepts, instruments, systems, equipment and detectors | CHF | 10 | 10
ACTIVE | IEC | IEC 61336:1996 (EN-FR) | 1996 | Nuclear instrumentation - Thickness measurement systems utilizingionizing radiation - Definitions and test methods | CHF | 260 | 260
ACTIVE | IEC | IEC 61304:1994 (EN-FR) | 1994 | Nuclear instrumentation - Liquid-scintillation counting systems - Performance verification | CHF | 160 | 160
ACTIVE | IEC | IEC 61172:1992 (EN-FR) | 1992 | Radiation protection instrumentation - Monitoring equipment - Radioactive aerosols in the environment | CHF | 295 | 295
ACTIVE | IEC | IEC 61171:1992 (EN-FR) | 1992 | Radiation protection instrumentation - Monitoring equipment - Atmospheric radioactive iodines in the environment | CHF | 210 | 210
ACTIVE | IEC | IEC 60912:1996 (EN-FR) | 1996 | Nuclear instrumentation - ECL (emitter coupled logic) front panel interconnections in counter logic | CHF | 40 | 40
ACTIVE | IEC | IEC 61560:1998 (EN-FR) | 1998 | Radiation protection instrumentation - Apparatus for non-destructive radiation tests of fur and other cloth samples | CHF | 160 | 160
ACTIVE | DIN | VDI 4085 Blatt 1 : 2022 | 2022 | Planning, construction and managing of scrap yards - Monitoring of iron and non-ferrous scrap for radioactive components | EUR | 114.57 | 114.57
ACTIVE | DIN | VDI/VDE 3511 Blatt 4.7 : 2023 | 2023 | Temperature measurement in industry - Radiation thermometry - Ratio radiation thermometers | EUR | 100.81 | 100.81
ACTIVE | DIN | VDI/VDE 3511 Blatt 4.2 : 2014 | 2014 | Temperature measurement in industry - Radiation thermometry - Maintenance and intended operation of radiation thermometers | EUR | 46.43 | 46.43
ACTIVE | DIN | DIN ISO 12789-2 : 2013 | 2013 | Reference radiation fields - Simulated workplace neutron fields - Part 2: Calibration fundamentals related to the basic quantities (ISO 12789-2:2008) | EUR | 93.83 | 93.83
ACTIVE | DIN | DIN ISO 12789-1 : 2013 | 2013 | Reference radiation fields - Simulated workplace neutron fields - Part 1: Characteristics and methods of production (ISO 12789-1:2008) | EUR | 119.44 | 119.44
ACTIVE | DIN | DIN IEC 61526 (DRAFT) : 2020 | 2020 | Radiation protection instrumentation - Measurement of personal dose equivalents Hp(10), Hp(3) and Hp(0,07) for X, gamma, neutron and beta radiations - Direct reading personal dosemeters (IEC 45B/960/CD:2020); Text in German and English | EUR | 57.41 | 57.41
ACTIVE | DIN | DIN IEC 60951-3 (DRAFT) : 2020 | 2020 | Nuclear facilities - Instrumentation important to safety - Radiation monitoring for accident and post-accident conditions - Part 3: Equipment for continuous high range area gamma monitoring (IEC 45A/1325/CD:2020); Text in German and English | EUR | 15 | 15
ACTIVE | DIN | DIN IEC 60951-1 (DRAFT) : 2020 | 2020 | Nuclear facilities - Instrumentation important to safety - Radiation monitoring for accident and post-accident conditions - Part 1: General requirements (IEC 45A/1324/CD:2020); Text in German and English | EUR | 37.85 | 37.85
ACTIVE | DIN | DIN IEC 60761-2 (DRAFT) : 2022 | 2022 | Equipment for continuous monitoring of radioactivity in gaseous effluents - Part 2: Specific requirements for radioactive aerosol monitors including transuranic aerosols (IEC 45B/997/CD); Text in German and English | EUR | 20.48 | 20.48
ACTIVE | DIN | DIN IEC 60325 (DRAFT) : 2022 | 2022 | Radiation protection instrumentation - Alpha, beta and alpha/beta (beta energy > 60 keV) contamination meters and monitors (IEC 45B/999/CD:2022); Text in German and English | EUR | 37.85 | 37.85
ACTIVE | DIN | DIN EN ISO 22908 : 2022 | 2022 | Water quality - Radium 226 and Radium 228 - Test method using liquid scintillation counting (ISO 22908:2020) | EUR | 148.32 | 148.32
ACTIVE | DIN | DIN EN ISO 22515 : 2023 | 2023 | Water quality - Iron-55 - Test method using liquid scintillation counting (ISO 22515:2021) | EUR | 119.44 | 119.44
ACTIVE | DIN | DIN EN ISO 21484 : 2019 | 2019 | Nuclear Energy - Fuel technology - Determination of the O/M ratio in MOX pellets by the gravimetric method (ISO 21484:2017) | EUR | 68.04 | 68.04
ACTIVE | DIN | DIN EN ISO 19017 : 2018 | 2018 | Guidance for gamma spectrometry measurement of radioactive waste (ISO 19017:2015) | EUR | 176.07 | 176.07
ACTIVE | DIN | DIN EN ISO 16638-2 : 2022 | 2022 | Radiological protection - Monitoring and internal dosimetry for specific materials - Part 2: Ingestion of uranium compounds (ISO 16638-2:2019) | EUR | 141.96 | 141.96
ACTIVE | DIN | DIN EN ISO 16638-1 : 2020 | 2020 | Radiological protection - Monitoring and internal dosimetry for specific materials - Part 1: Inhalation of uranium compounds (ISO 16638-1:2015) | EUR | 169.91 | 169.91
ACTIVE | DIN | DIN EN ISO 13304-2 : 2023 | 2023 | Radiological protection - Minimum criteria for electron paramagnetic resonance (EPR) spectroscopy for retrospective dosimetry of ionizing radiation - Part 2: Ex vivo human tooth enamel dosimetry (ISO 13304-2:2020) | EUR | 127.94 | 127.94
ACTIVE | DIN | DIN EN ISO 13304-1 : 2023 | 2023 | Radiological protection - Minimum criteria for electron paramagnetic resonance (EPR) spectroscopy for retrospective dosimetry of ionizing radiation - Part 1: General principles (ISO 13304-1:2020) | EUR | 119.44 | 119.44
ACTIVE | DIN | DIN EN ISO 13164-3 : 2020 | 2020 | Water quality - Radon-222 - Part 3: Test method using emanometry (ISO 13164-3:2013) | EUR | 135.33 | 135.33
ACTIVE | DIN | DIN EN ISO 13164-2 : 2020 | 2020 | Water quality - Radon-222 - Part 2: Test method using gamma-ray spectrometry (ISO 13164-2:2013) | EUR | 102.43 | 102.43
ACTIVE | DIN | DIN EN ISO 13164-1 : 2020 | 2020 | Water quality - Radon-222 - Part 1: General principles (ISO 13164-1:2013, Corrected version 2013-11-15) | EUR | 127.94 | 127.94
ACTIVE | DIN | DIN EN ISO 13162 : 2022 | 2022 | Water quality - Carbon 14 - Test method using liquid scintillation counting (ISO 13162:2021) | EUR | 127.94 | 127.94
ACTIVE | DIN | DIN EN ISO 10703 : 2022 | 2022 | Water quality - Gamma-ray emitting radionuclides - Test method using high resolution gamma-ray spectrometry (ISO 10703:2021) | EUR | 141.96 | 141.96
ACTIVE | DIN | DIN EN ISO 9697 : 2020 | 2020 | Water quality - Gross beta activity - Test method using thick source (ISO 9697:2018) | EUR | 102.43 | 102.43
ACTIVE | DIN | DIN EN ISO 9696 : 2018 | 2018 | Water quality - Gross alpha activity - Test method using thick source (ISO 9696:2017) | EUR | 102.43 | 102.43
ACTIVE | DIN | DIN EN 62479 : 2011 | 2011 | Assessment of the compliance of low power electronic and electrical equipment with the basic restrictions related to human exposure to electromagnetic fields (10 MHz to 300 GHz) (IEC 62479:2010, modified); German version EN 62479:2010 | EUR | 0 | 0
ACTIVE | DIN | DIN EN 62363 : 2012 | 2012 | Radiation protection instrumentation - Portable photon contamination meters and monitors (IEC 62363:2008, modified); German version EN 62363:2011 | EUR | 0 | 0
ACTIVE | DIN | DIN EN 62233 : 2008 | 2008 | Measurement methods for electromagnetic fields of household appliances and similar apparatus with regard to human exposure (IEC 62233:2005, modified); German version EN 62233:2008 | EUR | 0 | 0
ACTIVE | DIN | DIN EN IEC 61674 (DRAFT) : 2023 | 2023 | Medical electrical equipment - Dosimeters with ionization chambers and/or semiconductor detectors as used in X-ray diagnostic imaging (IEC/CDV 61674:2023); German and English version prEN IEC 61674:2023 | EUR | 113.27 | 113.27
ACTIVE | DIN | DIN EN 61577-3 : 2015 | 2015 | Radiation protection instrumentation - Radon and radon decay product measuring instruments - Part 3: Specific requirements for radon decay product measuring instruments (IEC 61577-3:2011, modified); German version EN 61577-3:2014 | EUR | 0 | 0
ACTIVE | DIN | DIN EN 61526 : 2013 | 2013 | Radiation protection instrumentation - Measurement of personal dose equivalents H<(Index)p>(10) and H<(Index)p>(0,07) for X, gamma, neutron and beta radiations - Direct reading personal dose equivalent meters (IEC 61526:2010, modified); German version EN 61526:2013 | EUR | 0 | 0
ACTIVE | DIN | DIN EN 60861 : 2008 | 2008 | Equipment for monitoring of radionuclides in liquid effluents and surface waters (IEC 60861:2006, modified); German version EN 60861:2008 | EUR | 0 | 0
ACTIVE | DIN | DIN EN 50500 : 2009 | 2009 | Measurement procedures of magnetic field levels generated by electronic and electrical apparatus in the railway environment with respect to human exposure; German version EN 50500:2008 | EUR | 0 | 0
ACTIVE | DIN | DIN EN 50475 : 2009 | 2009 | Basic standard for the calculation and the measurement of human exposure to electromagnetic fields from broadcasting service transmitters in the HF bands (3 MHz - 30 MHz); German version EN 50475:2008 | EUR | 0 | 0
ACTIVE | DIN | DIN EN 16237 : 2013 | 2013 | Classification of non-electrical sources of incoherent optical radiation | EUR | 127.94 | 127.94
ACTIVE | DIN | DIN EN 14255-4 : 2007 | 2007 | Measurement and assessment of personal exposures to incoherent optical radiation - Part 4: Terminology and quantities used in UV-, visible and IR-exposure measurements | EUR | 93.83 | 93.83
ACTIVE | DIN | DIN EN 14255-3 : 2017 | 2017 | Measurement and assessment of personal exposures to incoherent optical radiation - Part 3: UV-Radiation emitted by the sun | EUR | 127.94 | 127.94
ACTIVE | DIN | DIN EN 14255-1 : 2005 | 2005 | Measurement and assessment of personal exposures to incoherent optical radiation - Part 1: Ultraviolet radiation emitted by artificial sources in the workplace | EUR | 119.44 | 119.44
ACTIVE | DIN | DIN EN 12198-2 : 2008 | 2008 | Safety of machinery - Assessment and reduction of risks arising from radiation emitted by machinery - Part 2: Radiation emission measurement procedure (includes Amendment A1:2008) | EUR | 93.83 | 93.83
ACTIVE | DIN | DIN 25483 : 2023 | 2023 | Methods of environmental monitoring using integrating solid-state dosimeters | EUR | 196.64 | 196.64
Definitive | BSI | BS EN ISO 22515:2021 | 2021 | Water quality. Iron-55. Test method using liquid scintillation counting | GBP | 232 | 232
Definitive | BSI | BS EN IEC 62232:2022 | 2022 | Determination of RF field strength, power density and SAR in the vicinity of base stations for the purpose of evaluating human exposure | GBP | 348 | 348
Under Review | BSI | PD CEN ISO/TS 11665-12:2021 | 2021 | Measurement of radioactivity in the environment. Air: radon-222 - Determination of the diffusion coefficient in waterproof materials: membrane one-side activity concentration measurement method | GBP | 272 | 272
Under Review | BSI | BS EN ISO 19581:2020 | 2020 | Measurement of radioactivity. Gamma emitting radionuclides. Rapid screening method using scintillation detector gamma-ray spectrometry | GBP | 232 | 232
Definitive | BSI | 20/30397856 DC | 25 | BS ISO 13165-1. Water quality. Radium-226 - Part 1. Test method using liquid scintillation counting | GBP | 20 | 20
Definitive | BSI | BS EN ISO 13164-2:2020 | 2020 | Water quality. Radon-222 - Test method using gamma-ray spectrometry | GBP | 166 | 166
Definitive | BSI | BS ISO 23655-1:2022 | 2022 | Water quality. Nickel-59 and nickel-63 - Test method using liquid scintillation counting | GBP | 232 | 232
Definitive | BSI | BS EN ISO 22017:2020 | 2020 | Water quality. Guidance for rapid radioactivity measurements in nuclear or radiological emergency situation | GBP | 232 | 232
Definitive | BSI | 22/30438655 DC | 16 | BS EN ISO 13167. Water quality. Plutonium, americium, curium and neptunium. Test method using alpha spectrometry | GBP | 20 | 20
Confirmed | BSI | BS EN ISO 11665-1:2019 | 2019 | Measurement of radioactivity in the environment. Air: radon-222 - Origins of radon and its short-lived decay products and associated measurement methods | GBP | 306 | 306
Definitive | BSI | 22/30451528 DC | 31 | BS IEC 60761-2. Equipment for continuous monitoring of radioactivity in gaseous effluents - Part 2. Specific requirements for radioactive aerosol monitors including transuranic aerosols | GBP | 20 | 20
Confirmed | BSI | BS EN 50527-2-2:2018 | 2018 | Procedure for the assessment of the exposure to electromagnetic fields of workers bearing active implantable medical devices - Specific assessment for workers with cardioverter defibrillators (ICDs) | GBP | 322 | 322
Definitive | BSI | BS EN ISO 16638-1:2017 | 2017 | Radiological protection. Monitoring and internal dosimetry for specific materials - Inhalation of uranium compounds | GBP | 322 | 322
Revision Underway | BSI | BS EN ISO 22125-2:2019 | 2019 | Water quality. Technetium-99 - Test method using inductively coupled plasma mass spectrometry (ICP-MS) | GBP | 232 | 232
Definitive | BSI | BS EN ISO 13164-3:2020 | 2020 | Water quality. Radon-222 - Test method using emanometry | GBP | 272 | 272
Definitive | BSI | BS IEC 60951-3:2022 | 2022 | Nuclear facilities. Instrumentation systems important to safety. Radiation monitoring for accident and post-accident conditions - Equipment for continuous high range area gamma monitoring | GBP | 166 | 166
Confirmed | BSI | BS EN ISO 11665-6:2020 | 2020 | Measurement of radioactivity in the environment. Air: radon-222 - Spot measurement methods of the activity concentration | GBP | 166 | 166
Under Review | BSI | BS EN ISO 21484:2019 | 2019 | Nuclear Energy. Fuel technology. Determination of the O/M ratio in MOX pellets by the gravimetric method | GBP | 142 | 142
Definitive | BSI | BS EN ISO 18589-6:2021 | 2021 | Measurement of radioactivity in the environment. Soil - Gross alpha and gross beta activities. Test method using gas-flow proportional counting | GBP | 166 | 166
Definitive | BSI | 22/30404742 DC | 23 | BS ISO 20045. Measurement of the radioactivity in the environment. Air: tritium. Test Method using bubbler sampling | GBP | 20 | 20
Definitive | BSI | 22/30441351 DC | 10 | BS ISO 4723. Water quality. Actinium-227. Test method using alpha-spectrometry | GBP | 20 | 20
Definitive | BSI | BS EN 50527-2-3:2021 | 2021 | Procedure for the assessment of the exposure to electromagnetic fields of workers bearing active implantable medical devices - Specific assessment for workers with implantable neurostimulators | GBP | 318 | 318
Definitive | BSI | BS EN ISO 16638-2:2022 - TC | 2022 | Tracked Changes. Radiological protection. Monitoring and internal dosimetry for specific materials - Ingestion of uranium compounds | GBP | 382 | 382
Definitive | BSI | BS EN ISO 16647:2021 | 2021 | Nuclear facilities. Criteria for design and operation of confinement systems for nuclear worksite and for nuclear installations under decommissioning | GBP | 272 | 272
Definitive | BSI | BS IEC 60951-3:2022 - TC | 2022 | Tracked Changes. Nuclear facilities. Instrumentation systems important to safety. Radiation monitoring for accident and post-accident conditions - Equipment for continuous high range area gamma monitoring | GBP | 382 | 382
Definitive | BSI | 21/30448944 DC |  | BS EN ISO/ASTM 51940. Guidance for dosimetry for sterile insects release programs | GBP | 20 | 20
Definitive | BSI | BS EN ISO 13304-2:2022 | 2022 | Radiological protection. Minimum criteria for electron paramagnetic resonance (EPR) spectroscopy for retrospective dosimetry of ionizing radiation - ex vivo human tooth enamel dosimetry | GBP | 272 | 272
Definitive | BSI | 23/30447879 DC | 22 | BS EN ISO 13165-3. Water quality. Radium-226 - Part 3. Test method using coprecipitation and gamma-spectrometry | GBP | 20 | 20
Definitive | BSI | 21/30377065 DC |  | BS ISO 19461-2. Radiological protection. Measurement for the clearance of waste contaminated with radioisotopes for medical application - Part 2. Management of solid radioactive waste in nuclear medicine facilities | GBP | 20 | 20
Definitive | BSI | 22/30458390 DC | 7 | BS EN 61674 Ed.3.0. Medical electrical equipment. Dosimeters with ionization chambers and/or semiconductor detectors as used in X-ray diagnostic imaging | GBP | 20 | 20
Definitive | BSI | BS EN ISO 22908:2020 | 2020 | Water quality. Radium 226 and Radium 228. Test method using liquid scintillation counting | GBP | 272 | 272
Revision Underway | BSI | BS EN ISO 13165-3:2020 | 2020 | Water quality. Radium-226 - Test method using coprecipitation and gamma-spectrometry | GBP | 166 | 166
Definitive | BSI | 18/30388914 DC | 20 | BS EN IEC 61098. Radiation protection instrumentation. Installed personnel surface contamination monitoring assemblies | GBP | 20 | 20
Definitive | BSI | BS EN ISO 13164-1:2020 | 2020 | Water quality. Radon-222 - General principles | GBP | 272 | 272
Revision Underway | BSI | BS EN ISO 13160:2021 | 2021 | Water quality. Strontium 90 and strontium 89. Test methods using liquid scintillation counting or proportional counting | GBP | 322 | 322
Definitive | BSI | 22/30437105 DC | 7 | BS ISO 19238. Radiological protection. Performance criteria for service laboratories performing biological dosimetry by cytogenetics. The dicentric assay | GBP | 20 | 20
Definitive | BSI | 22/30453012 DC | 13 | BS ISO 18589-3. Measurement of radioactivity in the environment. Soil - Part 3. Test method of gamma-emitting radionuclides using gamma-ray spectrometry | GBP | 20 | 20
Definitive | BSI | 20/30404314 DC | 10 | BS EN 50566 AMD1. Product standard to demonstrate the compliance of wireless communication devices with the basic restrictions and exposure limit values related to human exposure to electromagnetic fields in the frequency range from 30 MHz to 6 GHz: hand-held and body mounted devices in close proximity to the human body | GBP | 20 | 20
Definitive | BSI | 20/30422205 DC | 11 | BS IEC 60050-395. International Electrotechnical Vocabulary (IEV) - Part 395. Nuclear instrumentation. Physical phenomena, basic concepts, instruments, systems, equipment and detectors | GBP | 36 | 36
Confirmed | BSI | BS EN ISO 11665-2:2019 | 2019 | Measurement of radioactivity in the environment. Air: radon-222 - Integrated measurement method for determining average potential alpha energy concentration of its short-lived decay products | GBP | 166 | 166
Definitive | BSI | 21/30428134 DC | 23 | BS ISO 4722-1. Water quality. Thorium 232 - Part 1. Test method using alpha spectrometry | GBP | 20 | 20
Definitive | BSI | BS EN ISO 13162:2021 - TC | 2021 | Tracked Changes. Water quality. Carbon 14. Test method using liquid scintillation counting | GBP | 326 | 326
Definitive | BSI | 19/30394393 DC | 21 | BS ISO 52628. Standard practice for dosimetry in radiation processing | GBP | 20 | 20
Definitive | BSI | 22/30429483 DC | 1 | BS ISO 4685. Water quality. Radium 226. Test method using ICP-MS | GBP | 20 | 20
Confirmed | BSI | BS EN ISO 11665-3:2020 | 2020 | Measurement of radioactivity in the environment. Air: radon-222 - Spot measurement method of the potential alpha energy concentration of its short-lived decay products | GBP | 232 | 232
Definitive | BSI | PD IEC/PAS 63151:2018 | 2018 | Measurement procedure for the assessment of specific absorption rate of human exposure to radio frequency fields from hand-held and body-mounted wireless communication devices. Vector measurement-based systems (Frequency range of 30 MHz to 6 GHz) | GBP | 348 | 348
Definitive | BSI | BS ISO 11665-4:2021 | 2021 | Measurement of radioactivity in the environment. Air: radon-222 - Integrated measurement method for determining average activity concentration using passive sampling and delayed analysis | GBP | 272 | 272
Definitive | BSI | 20/30423328 DC | 8 | BS EN IEC 61098. Radiation protection instrumentation. Installed personnel surface contamination monitoring assemblies | GBP | 20 | 20
Definitive | BSI | BS EN 50527-2-1:2016 - TC | 2016 | Tracked Changes. Procedure for the assessment of the exposure to electromagnetic fields of workers bearing active implantable medical devices - Specific assessment for workers with cardiac pacemakers | GBP | 488 | 488
Definitive | BSI | 22/30438650 DC | 8 | BS EN ISO 13164-4. Water quality. Radon-222 - Part 4. Test method using two-phase liquid scintillation counting | GBP | 20 | 20
Definitive | BSI | 23/30429486 DC | 20 | BS ISO 4722-2. Water quality. Thorium 232 - Part 2. Test method using ICP/MS | GBP | 20 | 20
Definitive | BSI | BS EN ISO 13161:2020 | 2020 | Water quality. Polonium 210. Test method using alpha spectrometry | GBP | 232 | 232
Definitive | BSI | 22/30394888 DC | 30 | BS ISO 20956. Radiological protection. Low dose rate calibration of instruments for environmental and area monitoring | GBP | 20 | 20
Definitive | BSI | BS ISO 11665-4:2021 - TC | 2021 | Tracked Changes. Measurement of radioactivity in the environment. Air: radon-222 - Integrated measurement method for determining average activity concentration using passive sampling and delayed analysis | GBP | 382 | 382
Revision Underway | BSI | BS EN 50566:2017 - TC | 2017 | Tracked Changes. Product standard to demonstrate the compliance of wireless communication devices with the basic restrictions and exposure limit values related to human exposure to electromagnetic fields in the frequency range from 30 MHz to 6 GHz: hand-held and body mounted devices in close proximity to the human body | GBP | 200 | 200
Definitive | BSI | 22/30419335 DC | 5 | BS ISO 24426. Radiological protection. Format of input data for the statistical description of dose records of individuals monitored for occupational exposure to ionizing radiation | GBP | 20 | 20
Revision Underway | BSI | BS EN ISO 13160:2021 - TC | 2021 | Tracked Changes. Water quality. Strontium 90 and strontium 89. Test methods using liquid scintillation counting or proportional counting | GBP | 452 | 452
Definitive | BSI | BS EN ISO 8769:2022 | 2022 | Measurement of radioactivity. Alpha-, beta- and photon emitting radionuclides. Reference measurement standard specifications for the calibration of surface contamination monitors | GBP | 166 | 166
Definitive | BSI | 22/30373503 DC | 5 | BS EN 63184. Basic standard for the assessment of the human exposure to electric and magnetic fields from wireless power transfer systems. models, instrumentation, numerical methods and procedures (Frequency range of 1 kHz to 10 MHz) | GBP | 36 | 36
Definitive | BSI | BS EN 50554:2021 - TC | 2021 | Tracked Changes. Basic standard for the in-situ assessment of exposure to radio frequency electromagnetic fields in the vicinity of a broadcast site | GBP | 234 | 234
Definitive | BSI | BS EN ISO 18589-5:2021 | 2021 | Measurement of radioactivity in the environment. Soil - Strontium 90. Test method using proportional counting or liquid scintillation counting | GBP | 272 | 272
Definitive | BSI | 22/30405170 DC | 17 | BS ISO 20043-2. Measurement of radioactivity in the environment. Guidelines for effective dose assessment using environmental monitoring data - Part 2. Nuclear emergency exposure situation | GBP | 20 | 20
Definitive | BSI | BS EN ISO 4037-4:2021 | 2021 | Radiological protection. X and gamma reference radiation for calibrating dosemeters and doserate meters and for determining their response as a function of photon energy - Calibration of area and personal dosemeters in low energy X reference radiation fields | GBP | 232 | 232
Definitive | BSI | 23/30435266 DC | 15 | BS ISO 4702. Water quality. Zirconium 93. Test method using ICP-MS | GBP | 20 | 20
Definitive | BSI | PD IEC TR 61244-4:2019 | 2019 | Determination of long-term radiation ageing in polymers - Effects of different temperatures and dose rates under radiation condition | GBP | 272 | 272
Definitive | BSI | BS EN ISO 13165-2:2022 | 2022 | Water quality. Radium-226 - Test method using emanometry | GBP | 232 | 232
Definitive | BSI | BS EN IEC 61228:2020 | 2020 | Fluorescent ultraviolet lamps used for tanning. Measurement and specification method | GBP | 232 | 232
Confirmed | BSI | BS EN 50499:2019 | 2019 | Procedure for the assessment of the exposure of workers to electromagnetic fields | GBP | 272 | 272
Definitive | BSI | BS EN ISO 18589-4:2021 | 2021 | Measurement of radioactivity in the environment. Soil - Plutonium 238 and plutonium 239 + 240. Test method using alpha spectrometry | GBP | 232 | 232
Definitive | BSI | BS EN ISO 16638-2:2022 | 2022 | Radiological protection. Monitoring and internal dosimetry for specific materials - Ingestion of uranium compounds | GBP | 272 | 272
Definitive | BSI | BS IEC 61452:2021 | 2021 | Nuclear instrumentation. Measurement of activity or emission rate of gamma-ray emitting radionuclides. Calibration and use of germanium-based spectrometers | GBP | 348 | 348
Revision Underway | BSI | BS EN ISO 22125-1:2019 | 2019 | Water quality. Technetium-99 - Test method using liquid scintillation counting | GBP | 232 | 232
Definitive | BSI | 23/30435269 DC | 20 | BS ISO 4717. Water quality. Protactinium-231. Test method using ICP-MS | GBP | 20 | 20
Under Review | BSI | BS EN ISO 4037-2:2021 | 2021 | Radiological protection. X and gamma reference radiation for calibrating dosemeters and doserate meters and for determining their response as a function of photon energy - Dosimetry for radiation protection over the energy ranges from 8 keV to 1,3 MeV and 4 MeV to 9 MeV | GBP | 272 | 272
Under Review | BSI | BS EN ISO 4037-1:2021 | 2021 | Radiological protection. X and gamma reference radiation for calibrating dosemeters and doserate meters and for determining their response as a function of photon energy - Radiation characteristics and production methods | GBP | 322 | 322
Definitive | BSI | BS EN ISO 13304-1:2022 | 2022 | Radiological protection. Minimum criteria for electron paramagnetic resonance (EPR) spectroscopy for retrospective dosimetry of ionizing radiation - General principles | GBP | 232 | 232
Definitive | BSI | BS EN ISO 13162:2021 | 2021 | Water quality. Carbon 14. Test method using liquid scintillation counting | GBP | 232 | 232
Definitive | BSI | BS EN ISO 18589-1:2021 | 2021 | Measurement of radioactivity in the environment. Soil - General guidelines and definitions | GBP | 232 | 232
Definitive | BSI | 12/30251712 DC | 19 | BS ISO/ASTM 52116. Practice for dosimetry for a self-contained dry-storage gamma-ray irradiator | GBP | 20 | 20
Revision Underway | BSI | BS EN 60731:2012 | 2012 | Medical electrical equipment. Dosimeters with ionization chambers as used in radiotherapy | GBP | 348 | 348
Definitive | BSI | BS EN 60731:2012+A1:2022 | 2012 | Medical electrical equipment. Dosimeters with ionization chambers as used in radiotherapy | GBP | 348 | 348
Revision Underway | BSI | BS ISO 15565:1998 | 1998 | Practice for use of a radiochromic liquid dosimetry system | GBP | 134 | 134
Confirmed | BSI | BS ISO 12789-2:2008 | 2008 | Reference radiation fields. Simulated workplace neutron fields - Calibration fundamentals related to the basic quantities | GBP | 232 | 232
Definitive | BSI | 13/30264511 DC | 23 | BS ISO/ASTM 52628. Standard practice for dosimetry in radiation processing | GBP | 20 | 20
Revision Underway | BSI | BS ISO 15570:1998 | 1998 | Practice for use of cellulose acetate dosimetry system | GBP | 166 | 166
Under Review | BSI | BS EN ISO 18589-7:2016 | 2016 | Measurement of radioactivity in the environment. Soil - In situ measurement of gamma-emitting radionuclides | GBP | 322 | 322
Definitive | BSI | BS IEC 60532:2010 | 2010 | Radiation protection instrumentation. Installed dose rate meters, warning assemblies and monitors. X and gamma radiation of energy between 50 keV and 7 MeV | GBP | 306 | 306
Definitive | BSI | 13/30258884 DC |  | BS ISO 11665-10. Measurement of radioactivity in the environment. Air: radon-222. Part 10. Determination of diffusion coefficient in waterproof materials using activity concentration measurement | GBP | 20 | 20
Definitive | BSI | BS EN 60761-3:2004 | 2004 | Equipment for continuous monitoring of radioactivity in gaseous - Specific requirements for radioactive noble gas monitors | GBP | 232 | 232
Definitive | BSI | 16/30344343 DC |  | BS ISO/ASTM 51205. Practice for use of a ceric-cerous sulfate dosimetry system | GBP | 20 | 20
Definitive | BSI | BS ISO 15558:1998 | 1998 | Practice for use of a polymethylmethacrylate dosimetry system | GBP | 142 | 142
Under Review | BSI | BS EN ISO 11704:2018 | 2018 | Water quality. Gross alpha and gross beta activity. Test method using liquid scintillation counting | GBP | 220 | 220
Confirmed | BSI | BS IEC 60951-4:2009 | 2009 | Nuclear power plants. Instrumentation important to safety. Radiation monitoring for accident and post-accident conditions - Equipment for continuous in-line or on-line monitoring of radioactivity in process streams | GBP | 166 | 166
Definitive | BSI | 13/30282535 DC | 19 | BS ISO/ASTM 51401. Practice for use of a dichromate dosimetry system | GBP | 20 | 20
Confirmed | BSI | BS ISO 8529-2:2000 | 2000 | Reference neutron radiations - Calibration fundamentals of radiation protection devices related to the basic quantities characterizing the radiation field | GBP | 272 | 272
Under Review | BSI | BS EN 50566:2017 | 2017 | Product standard to demonstrate the compliance of wireless communication devices with the basic restrictions and exposure limit values related to human exposure to electromagnetic fields in the frequency range from 30 MHz to 6 GHz: hand-held and body mounted devices in close proximity to the human body | GBP | 142 | 142
Definitive | BSI | 14/30257196 DC |  | BS ISO 16644-1. Measurement of activity in nuclear medicine. Part 1. Grammacamera planar image | GBP | 20 | 20
Definitive | BSI | 19/30352974 DC |  | BS ISO 20043-1. Measurement of radioactivity in the environment. Guidelines for environmental monitoring for effective dose assessment process - Part 1. Planned and existing exposure situation | GBP | 20 | 20
Under Review | BSI | BS 6809:1987 | 1987 | Method for calibration of radiometers for use in fire testing | GBP | 166 | 166
Revision Underway | BSI | BS ISO 15555:1998 | 1998 | Practice for use of a ceric-cerous sulfate dosimetry system | GBP | 166 | 166
Confirmed | BSI | BS EN ISO 16641:2016 | 2016 | Measurement of radioactivity in the environment. Air. Radon 220: Integrated measurement methods for the determination of the average activity concentration using passive solid-state nuclear track detectors | GBP | 232 | 232
Definitive | BSI | 17/30356677 DC |  | BS ISO/ASTM 51538. Practice for use of the ethanol-chlorobenzene dosimetry system | GBP | 20 | 20
Confirmed | BSI | BS EN 50496:2018 - TC | 2018 | Tracked Changes. Determination of workers' exposure to electromagnetic fields and assessment of risk at a broadcast site | GBP | 326 | 326
Definitive | BSI | BS EN 50554:2021 | 2021 | Basic standard for the in-situ assessment of exposure to radio frequency electromagnetic fields in the vicinity of a broadcast site | GBP | 166 | 166
Confirmed | BSI | BS EN ISO 11665-5:2020 | 2020 | Measurement of radioactivity in the environment. Air: radon-222 - Continuous measurement methods of the activity concentration | GBP | 166 | 166
Confirmed | BSI | BS EN ISO 19017:2017 | 2017 | Guidance for gamma spectrometry measurement of radioactive waste | GBP | 322 | 322
Definitive | BSI | 18/30363551 DC | 19 | BS EN 61098. Radiation protection instrumentation. Installed personnel surface contamination monitoring assemblies | GBP | 20 | 20
Definitive | BSI | 22/30456241 DC | 19 | BS ISO 8529-3. Neutron reference radiation fields - Part 3. Calibration of area and personal dosemeters and determination of their response as a function of neutron energy and angle of incidence | GBP | 20 | 20
Definitive | BSI | BS ISO 23655-2:2022 | 2022 | Water quality. Nickel-59 and nickel-63 - Test method using ICP-MS | GBP | 232 | 232
Definitive | BSI | BS EN IEC 60544-5:2022 | 2022 | Electrical insulating materials. Determination of the effects of ionizing radiation - Procedures for assessment of ageing in service | GBP | 232 | 232
Definitive | BSI | 21/30436108 DC |  | BS ISO 51310. Practice for use of a radiochromic optical waveguide dosimetry system | GBP | 20 | 20
Definitive | BSI | BS EN IEC 60580:2020 - TC | 2020 | Tracked Changes. Medical electrical equipment. Dose area product meters | GBP | 382 | 382
Definitive | BSI | PD IEC TR 62669:2019 | 2019 | Case studies supporting IEC 62232. Determination of RF field strength, power density and SAR in the vicinity of radiocommunication base stations for the purpose of evaluating human exposure | GBP | 348 | 348
Under Review | BSI | BS EN ISO 11665-11:2019 | 2019 | Measurement of radioactivity in the environment. Air: radon-222 - Test method for soil gas with sampling at depth | GBP | 272 | 272
Definitive | BSI | BS EN ISO 4037-3:2021 | 2021 | Radiological protection. X and gamma reference radiation for calibrating dosemeters and doserate meters and for determining their response as a function of photon energy - Calibration of area and personal dosemeters and the measurement of their response as a function of energy and angle of incidence | GBP | 348 | 348
Definitive | BSI | PD IEC TR 62669:2019 - TC | 2019 | Tracked Changes. Case studies supporting IEC 62232. Determination of RF field strength, power density and SAR in the vicinity of radiocommunication base stations for the purpose of evaluating human exposure | GBP | 488 | 488
Definitive | BSI | BS EN ISO 13163:2022 | 2022 | Water quality — Lead-210 — Test method using liquid scintillation counting | GBP | 272 | 272
Revision Underway | BSI | BS EN ISO 11704:2018 - TC | 2018 | Tracked Changes. Water quality. Gross alpha and gross beta activity. Test method using liquid scintillation counting | GBP | 326 | 326
Definitive | BSI | BS EN ISO 10703:2021 | 2021 | Water quality. Gamma-ray emitting radionuclides. Test method using high resolution gamma-ray spectrometry | GBP | 272 | 272
Definitive | BSI | BS EN IEC 60580:2020 | 2020 | Medical electrical equipment. Dose area product meters | GBP | 272 | 272
Definitive | BSI | PD IEC/PAS 63083:2017 | 2017 | Specific absorption rate (SAR) measurement procedure for long term evolution (LTE) devices | GBP | 232 | 232
Confirmed | BSI | BS EN 50496:2018 | 2018 | Determination of workers' exposure to electromagnetic fields and assessment of risk at a broadcast site | GBP | 232 | 232
Definitive | BSI | BS IEC 61584:2001 | 2001 | Radiation protection instrumentation. Installed, portable or transportable assemblies. Measurement of air kerma direction and air kerma rate | GBP | 272 | 272
Confirmed | BSI | BS EN ISO 9696:2017 | 2017 | Water quality. Gross alpha activity. Test method using thick source | GBP | 166 | 166
Definitive | BSI | BS EN 61577-3:2014 | 2014 | Radiation protection instrumentation. Radon and radon decay product measuring instruments - Specific requirements for radon decay product measuring instruments | GBP | 232 | 232
Definitive | BSI | BS IEC 61577-1:2006 | 2006 | Radiation protection instrumentation. Radon and radon decay product measuring instruments - General principles | GBP | 232 | 232
Under Review | BSI | BS EN 50663:2017 | 2017 | Generic standard for assessment of low power electronic and electrical equipment related to human exposure restrictions for electromagnetic fields (10 MHz - 300 GHz) | GBP | 142 | 142
Revision Underway | BSI | BS ISO 15563:1998 | 1998 | Practice for use of the ethanol-chlorobenzene dosimetry system | GBP | 166 | 166
Definitive | BSI | BS ISO 15572:1998 | 1998 | Guide for estimating uncertainties in dosimetry for radiation processing | GBP | 220 | 220
Definitive | BSI | BS IEC 61322:2020 | 2020 | Radiation protection instrumentation. Installed ambient dose equivalent rate meters, warning and monitoring assemblies for neutrons with energies from thermal to 20 MeV | GBP | 322 | 322
Definitive | BSI | 14/30315837 DC | 7 | BS ISO/ASTM 51026. Practice for using the fricke reference-standard dosimetry system | GBP | 20 | 20
Definitive | BSI | 14/30303368 DC | 9 | BS ISO/ASTM 51707. Guide for estimation of measurement uncertainty in dosimetry for radiation processing | GBP | 20 | 20
Definitive | BSI | BS EN 61577-2:2017 | 2017 | Radiation protection instrumentation. Radon and radon decay product measuring instruments - Specific requirements for 222Rn and 220Rn measuring instruments | GBP | 232 | 232
Confirmed | BSI | BS EN 14255-1:2005 | 2005 | Measurement and assessment of personal exposures to incoherent optical radiation - Ultraviolet radiation emitted by artifical sources in the workplace | GBP | 272 | 272
Definitive | BSI | 12/30273484 DC | 30 | BS ISO 51650. Practice for use of a cellulose triacetate dosimetry system | GBP | 20 | 20
Definitive | BSI | PD IEC/TS 61244-1:2014 | 2014 | Determination of long-term radiation ageing in polymers - Techniques for monitoring diffusion-limited oxidation | GBP | 272 | 272
Definitive | BSI | BS ISO 15569:1998 | 1998 | Practice for dosimetry in an electron-beam facility for radiation processing at energies between 300 keV and 25 MeV | GBP | 232 | 232
Definitive | BSI | BS IEC 60462:2010 | 2010 | Nuclear instrumentation. Photomultiplier tubes for scintillation counting. Test procedures | GBP | 232 | 232
Definitive | BSI | 14/30303362 DC | 9 | BS ISO/ASTM 51608. Practice for dosimetry in an X-ray (bremsstrahlung) facility for radiation processing at energies between 50 keV and 7.5 MeV | GBP | 20 | 20
Revision Underway | BSI | BS ISO 15554:1998 | 1998 | Practice for dosimetry in gamma irradiation facilities for food processing | GBP | 134 | 134
Definitive | BSI | 12/30273487 DC | 30 | BS ISO 51818. Practice for dosimetry in an electron beam facility for radiation processing at energies between 80 and 300 keV | GBP | 20 | 20
Confirmed | BSI | BS EN 14255-3:2008 | 2008 | Measurement and assessment of personal exposures to incoherent optical radiation - UV-Radiation emitted by the sun | GBP | 272 | 272
Revision Underway | BSI | BS ISO 15562:1998 | 1998 | Practice for dosimetry in electron and bremsstrahlung irradiation facilities for food processing | GBP | 142 | 142
Under Review | BSI | BS EN 16237:2013 | 2013 | Classification of non-electrical sources of incoherent optical radiation | GBP | 272 | 272
Definitive | BSI | 14/30315832 DC | 7 | BS ISO/ASTM 52303. Guide for absorbed-dose mapping in radiation processing facilities | GBP | 20 | 20
Definitive | BSI | 13/30264514 DC | 23 | BS ISO 52701. Guide for performance characterization of dosimeters and dosimetry systems for use in radiation processing | GBP | 20 | 20
Under Review | BSI | BS ISO 13167:2015 | 2015 | Water quality. Plutonium, americium, curium and neptunium. Test method using alpha spectrometry | GBP | 232 | 232
Definitive | BSI | 15/30331502 DC |  | BS EN ISO 9696. Water quality. Measurement of gross alpha activity in non-saline water. Thick source method | GBP | 20 | 20
Definitive | BSI | 12/30251292 DC | 19 | BS ISO/ASTM 51261. Practice for calibration of routine dosimetry systems for radiation processing | GBP | 20 | 20
Definitive | BSI | 12/30251709 DC | 19 | BS ISO/ASTM 51631. Practice for use of calorimetric dosimetry systems for electron beam dose measurements and dosimeter calibrations | GBP | 20 | 20
Confirmed | BSI | BS ISO 21439:2009 | 2009 | Clinical dosimetry. Beta radiation sources for brachytherapy | GBP | 348 | 348
Under Review | BSI | BS ISO 20899:2018 | 2018 | Water quality. Plutonium and neptunium. Test method using ICP-MS | GBP | 158 | 158
Definitive | BSI | 17/30356584 DC | 3 | BS EN 61577-2. Radiation protection instrumentation. Radon and radon dec ay product measuring instruments. Part 2. Specific requirements for <sup>222</sup>Rn and <sup>220</sup>Rn measuring instruments | GBP | 20 | 20
Under Review | BSI | BS EN 50527-2-1:2016 | 2016 | Procedure for the assessment of the exposure to electromagnetic fields of workers bearing active implantable medical devices - Specific assessment for workers with cardiac pacemakers | GBP | 348 | 348
Confirmed | BSI | BS EN 12198-2:2002+A1:2008 | 2002 | Safety of machinery. Assessment and reduction of risks arising from radiation emitted by machinery - Radiation emission measurement procedure | GBP | 166 | 166
Definitive | BSI | BS EN 50500:2008+A1:2015 | 2008 | Measurement procedures of magnetic field levels generated by electronic and electrical apparatus in the railway environment with respect to human exposure | GBP | 166 | 166
Revision Underway | BSI | BS ISO 15559:1998 | 1998 | Practice for use of a radiochromic optical waveguide dosimetry system | GBP | 142 | 142
Confirmed | BSI | BS EN 50647:2017 | 2017 | Basic standard for the evaluation of workers' exposure to electric and magnetic fields from equipment and installations for the production, transmission and distribution of electricity | GBP | 322 | 322
Revision Underway | BSI | BS ISO 15566:1998 | 1998 | Practice for use of the alanine-EPR dosimetry system | GBP | 142 | 142
Confirmed | BSI | BS ISO 12789-1:2008 | 2008 | Reference radiation fields. Simulated workplace neutron fields - Characteristics and methods of production | GBP | 272 | 272
Definitive | BSI | 13/30280768 DC | 17 | BS EN 60412. Nuclear instrumentation. Nomenclature (identification) of scintillators and scintillation detectors and standard dimensions of scintillators | GBP | 20 | 20
Definitive | BSI | BS EN 60544-2:2012 | 2012 | Electrical insulating materials. Determination of the effects of ionizing radiation on insulating materials - Procedures for irradiation and test | GBP | 232 | 232
Definitive | BSI | BS EN 60761-4:2004 | 2004 | Equipment for continuous monitoring of radioactivity in gaseous effluents - Specific requirements for radioactive iodine monitors | GBP | 166 | 166
Revision Underway | BSI | BS EN 60761-1:2004 | 2004 | Equipment for continuous monitoring radioactivity in gaseous effluents - General requirements | GBP | 272 | 272
Definitive | BSI | PD IEC/TS 61244-2:2014 | 2014 | Determination of long-term radiation ageing in polymers - Procedures for predicting ageing at low dose rates | GBP | 272 | 272
Under Review | BSI | BS ISO 13169:2018 | 2018 | Water quality. Uranium. Test method using alpha liquid scintillation counting | GBP | 220 | 220
Under Review | BSI | BS EN 60761-2:2004 | 2004 | Equipment for continuous monitoring of radioactivity in gaseous effluents - Specific requirements for radioactive aerosol monitors including transuranic aerosols | GBP | 232 | 232
Revision Underway | BSI | BS ISO 15557:1998 | 1998 | Practice for use of a radiochromic film dosimetry system | GBP | 142 | 142
Definitive | BSI | BS ISO 15573:1998 | 1998 | Practice for dosimetry in an electron-beam facility for radiation processing at energies between 80 keV and 300 keV | GBP | 134 | 134
Definitive | BSI | 14/30303365 DC | 9 | BS ISO/ASTM 51649. Practice for dosimetry in an electron beam facility for radiation processing at energies between 300 keV and 25 MeV | GBP | 20 | 20
Definitive | BSI | 14/30296615 DC | 16 | BS EN 60731 AMD1. Medical electrical equipment. Dosimeters with ionization chambers as used in radiotherapy | GBP | 20 | 20
Definitive | BSI | BS IEC 60692:1999 | 1999 | Nuclear instrumentation. Density gauges utilizing ionizing radiation. Definitions and test methods | GBP | 166 | 166
Definitive | BSI | BS EN 60544-1:2013 | 2013 | Electrical insulating materials. Determination of the effects of ionizing radiation - Radiation interaction and dosimetry | GBP | 272 | 272
Confirmed | BSI | BS EN 60601-2-9:1997 | 1997 | Medical electrical equipment. Particular requirements for safety - Specification for patient contact dosemeters used in radiotherapy with electrically connected radiation detectors | GBP | 166 | 166
Revision Underway | BSI | BS ISO 15556:1998 | 1998 | Guide for selection and calibration of dosimetry systems for radiation processing | GBP | 158 | 158
Revision Underway | BSI | BS ISO 15564:1998 | 1998 | Guide for use of radiation-sensitive indicators | GBP | 142 | 142
Definitive | BSI | BS EN 60761-5:2004 | 2004 | Equipment for continuous monitoring of radioactivity in gaseous effluents - Specific requirements for tritium monitors | GBP | 166 | 166
Definitive | BSI | BS ISO 15568:1998 | 1998 | Practice for use of calorimetric dosimetry systems for electron beam dose measurements and dosimeter calibrations | GBP | 166 | 166
Revision Underway | BSI | BS ISO 15567:1998 | 1998 | Practice for dosimetry in an X-ray (bremsstrahlung) facility for radiation processing | GBP | 158 | 158
Confirmed | BSI | BS EN 14255-4:2006 | 2006 | Measurement and assessment of personal exposures to incoherent optical radiation - Terminology and quantities used in UV-, visible and IR-exposure measurements | GBP | 166 | 166
Revision Underway | BSI | BS ISO 15561:1998 | 1998 | Practice for use of a dichromate dosimetry system | GBP | 142 | 142
Under Review | BSI | BS EN ISO 11665-7:2015 | 2015 | Measurement of radioactivity in the environment. Air: radon-222 - Accumulation method for estimating surface exhalation rate | GBP | 272 | 272
Definitive | BSI | 13/30281229 DC | 7 | BS ISO 51956. Practice for use of thermoluminescence dosimetry (TLD) systems for radiation processing | GBP | 20 | 20
Definitive | BSI | BS ISO 15571:1998 | 1998 | Practice for dosimetry in a gamma irradiation facility for radiation processing | GBP | 134 | 134
Definitive | BSI | BS ISO 15560:1998 | 1998 | Practice for characterization and performance of a high-dose radiation dosimetry calibration laboratory | GBP | 166 | 166
Definitive | BSI | 16/30344112 DC |  | BS ISO/ASTM 51939. Practice for blood irradiation dosimetry | GBP | 20 | 20
Confirmed | BSI | BS IEC 61336:1996 | 1996 | Nuclear instrumentation. Thickness measurement systems utilizing ionizing radiation. Definitions and test methods | GBP | 272 | 272
Definitive | BSI | 12/30273478 DC | 30 | BS ISO 51275. Practice for use of a radiochromic film dosimetry system | GBP | 20 | 20
Definitive | BSI | PD IEC/TR 62283:2010 | 2010 | Optical fibres. Guidance for nuclear radiation tests | GBP | 272 | 272
Confirmed | BSI | BS IEC 60951-2:2009 | 2009 | Nuclear power plants. Instrumentation important to safety. Radiation monitoring for accident and post-accident conditions - Equipment for continuous off-line monitoring of radioactivity in gaseous effluents and ventilation air | GBP | 166 | 166
Definitive | BSI | 16/30297079 DC | 6 | BS ISO 19461-1. Radiological protection. Measurement for the clearance of waste contaminated with radioisotopes for medical application. Part 1. Measurement of radioactivity | GBP | 20 | 20
Definitive | BSI | 12/30273481 DC | 30 | BS ISO 51607. Practice for use of the alanine-EPR dosimetry system | GBP | 20 | 20
Definitive | BSI | 12/30244420 DC | 3 | BS ISO 13304. Radiological protection. Minimum criteria for electron paramagnetic resonance (EPR) spectroscopy for retrospective dosimetry of ionizing radiation | GBP | 20 | 20
ACTIVE | ASTM | ASTM E3376 : 23 | 2023 | Standard Practice for Calibration and Usage of Germanium Detectors in Radiation Metrology for Reactor Dosimetry | USD | 72 | 72
ACTIVE | ASTM | ASTM E181 : 23 | 2023 | Standard Guide for Detector Calibration and Analysis of Radionuclides in Radiation Metrology for Reactor Dosimetry | USD | 80 | 80
ACTIVE | ASTM | ASTM G183 : 15(2023) | 2015 | Standard Practice for Field Use of Pyranometers, Pyrheliometers and UV Radiometers | USD | 72 | 72
ACTIVE | ASTM | ASTM E2450 : 23 | 2023 | Standard Practice for Application of CaF<inf>2</inf>(Mn) Thermoluminescence Dosimeters in Mixed Neutron-Photon Environments | USD | 72 | 72
ACTIVE | ASTM | ASTM E526 : 22 | 2022 | Standard Test Method for Measuring Fast-Neutron Reaction Rates By Radioactivation of Titanium | USD | 72 | 72
ACTIVE | ASTM | ASTM E496 : 14(2022) | 2014 | Standard Test Method for Measuring Neutron Fluence and Average Energy from <sup >3</sup>H(d,n)<sup>4</sup>He Neutron Generators by Radioactivation Techniques | USD | 80 | 80
ACTIVE | ASTM | ASTM E2852 : 13(2021) | 2013 | Standard Guide for Acquisition, Maintenance, Storage, and Use of Hazardous Material Detection Instrumentation | USD | 72 | 72
ACTIVE | ASTM | ASTM E1005 : 21 | 2021 | Standard Test Method for Application and Analysis of Radiometric Monitors for Reactor Vessel Surveillance | USD | 80 | 80
ACTIVE | ASTM | ASTM C1068 : 21 | 2021 | Standard Guide for Qualification of Measurement Methods by a Laboratory Within the Nuclear Industry | USD | 72 | 72
ACTIVE | ASTM | ASTM E261 : 16(2021) | 2016 | Standard Practice for Determining Neutron Fluence, Fluence Rate, and Spectra by Radioactivation Techniques | USD | 80 | 80
ACTIVE | ASTM | ASTM G222 : 21 | 2021 | Standard Practice for Estimation of UV Irradiance Received by Field-Exposed Products as a Function of Location | USD | 72 | 72
ACTIVE | ASTM | ASTM F526 : 21 | 2021 | Standard Test Method for Using Calorimeters for Total Dose Measurements in Pulsed Linear Accelerator or Flash X-ray Machines | USD | 80 | 80
ACTIVE | ASTM | ASTM E523 : 21e1 | 2021 | Standard Test Method for Measuring Fast-Neutron Reaction Rates by Radioactivation of Copper | USD | 64 | 64
ACTIVE | ASTM | ASTM E666 : 21 | 2021 | Standard Practice for Calculating Absorbed Dose From Gamma or X Radiation | USD | 72 | 72
ACTIVE | ASTM | ASTM E1006 : 21 | 2021 | Standard Practice for Analysis and Interpretation of Physics Dosimetry Results from Test Reactor Experiments | USD | 72 | 72
ACTIVE | ASTM | ASTM E1893 : 15(2021) | 2015 | Standard Guide for Selection and Use of Portable Radiological Survey Instruments for Performing In Situ Radiological Assessments to Support Unrestricted Release from Further Regulatory Controls | USD | 104 | 104
ACTIVE | ASTM | ASTM E1819 : 15(2021) | 2015 | Standard Guide for Environmental Monitoring Plans for Decommissioning of Nuclear Facilities | USD | 72 | 72
ACTIVE | ASTM | ASTM E1249 : 15(2021) | 2015 | Standard Practice for Minimizing Dosimetry Errors in Radiation Hardness Testing of Silicon Electronic Devices Using Co-60 Sources | USD | 80 | 80
ACTIVE | ASTM | ASTM D7784 : 20 | 2020 | Standard Practice for the Rapid Assessment of Gamma-ray Emitting Radionuclides in Environmental Media by Gamma Spectrometry | USD | 72 | 72
ACTIVE | ASTM | ASTM E265 : 15(2020) | 2015 | Standard Test Method for Measuring Reaction Rates and Fast-Neutron Fluences by Radioactivation of Sulfur-32 | USD | 72 | 72
ACTIVE | ASTM | ASTM C1000 : 19 | 2019 | Standard Test Method for Radiochemical Determination of Uranium Isotopes in Soil by Alpha Spectrometry | USD | 72 | 72
ACTIVE | ASTM | ASTM E393 : 19 | 2019 | Standard Test Method for Measuring Reaction Rates by Analysis of Barium-140 From Fission Dosimeters | USD | 72 | 72
ACTIVE | ASTM | ASTM E704 : 19 | 2019 | Standard Test Method for Measuring Reaction Rates by Radioactivation of Uranium-238 | USD | 72 | 72
ACTIVE | ASTM | ASTM G207 : 11(2019)e1 | 2011 | Standard Test Method for Indoor Transfer of Calibration from Reference to Field Pyranometers | USD | 72 | 72
ACTIVE | ASTM | ASTM C1189 : 11(2018) | 2011 | Standard Guide to Procedures for Calibrating Automatic Pedestrian SNM Monitors | USD | 72 | 72
ACTIVE | ASTM | ASTM C1855 : 18 | 2018 | Standard Test Method for Determination of Uranium and Plutonium Concentration in Aqueous Solutions Using Hybrid K-Edge Densitometry and X-Ray Fluorescence | USD | 80 | 80
ACTIVE | ASTM | ASTM C1726/C1726M : 10(2018) | 2010 | Standard Guide for Use of Modeling for Passive Gamma Measurements | USD | 72 | 72
ACTIVE | ASTM | ASTM C1673 : 10a(2018) | 2010 | Standard Terminology of C26.10 Nondestructive Assay Methods | USD | 64 | 64
ACTIVE | ASTM | ASTM D8027 : 17 | 2017 | Standard Practice for Concentration of Select Radionuclides Using MnO<inf>2</inf > for Measurement Purposes | USD | 72 | 72
ACTIVE | ASTM | ASTM D7283 : 17 | 2017 | Standard Test Method for Alpha and Beta Activity in Water By Liquid Scintillation Counting | USD | 80 | 80